## Unitary & Crossover
DAY & NIGHT MAY 2025
AC Condensers |  | Heat Pump Condensers |  | Crossover Heat Pumps
ION V/S 21 SEER Communicating |  | ION V/S 23 SEER Communicating |  | Quiet Comfort Crossover Heat Pump - High Heat
IC5A1V24AKAWA | #N/A | IC5H3V24AKAAA | #N/A | ID5CUHAH24AAK | #N/A
IC5A1V36AKAWA | #N/A | IC5H3V36AKAAA | #N/A | ID5CUHAH30AAK | #N/A
IC5A1V48AKAWA | #N/A | IC5H3V48AKAAA | #N/A | ID5CUHAH36AAK | #N/A
IC5A1V60AKAWA | #N/A | IC5H3V60AKAAA | #N/A | ID5CUHAH48AAK | #N/A
ION Two-Stage 18 SEER Communicating |  | ION V/S 20 SEER Communicating |  | ID5CUHAH60AAK | #N/A
IC5A8T24AKAWA | #N/A | IC5H0V24AKAAA | #N/A | Quiet Comfort Crossover Air Handler (115/208/230V)
IC5A8T36AKAWA | #N/A | IC5H0V36AKAAA | #N/A | ID5FUHAH24XAK | #N/A
IC5A8T48AKAWA | #N/A | IC5H0V48AKAAA | #N/A | ID5FUHAH36XAK | #N/A
IC5A8T60AKAWA | #N/A | IC5H0V60AKAAA | #N/A | ID5FUHAH60XAK | #N/A
ION Single Stage 16 SEER Communicating |  | ION Two Stage 18 SEER Communicating |  | Performance Crossover Heat Pump - Standard Heat
IC5A6S24AKAWA | #N/A | IC5H8T24AKAAA | #N/A | ID5CURAH24AAK | #N/A
IC5A6S30AKAWA | #N/A | IC5H8T36AKAAA | #N/A | ID5CURAH30AAK | #N/A
IC5A6S36AKAWA | #N/A | IC5H8T48AKAAA | #N/A | ID5CURAH36AAK | #N/A
IC5A6S42AKAWA | #N/A | IC5H8T60AKAAA | #N/A | ID5CURAH48AAK | #N/A
IC5A6S48AKAWA | #N/A | ION Single Stage 15 SEER Communicating |  | ID5CURAH60AAK | #N/A
IC5A6S60AKAWA | #N/A | IC5H6S24AKAAA | #N/A | Performance Crossover Air Handler - Standard Heat
Performance Series Two Stage 18 SEER |  | IC5H6S30AKAAA | #N/A | ID5FUAAH24XAK | #N/A
IN5A8T24AKAWA | #N/A | IC5H6S36AKAAA | #N/A | ID5FUAAH30XAK | #N/A
IN5A8T36AKAWA | #N/A | IC5H6S42AKAAA | #N/A | ID5FUAAH36XAK | #N/A
IN5A8T48AKAWA | #N/A | IC5H6S48AKAAA | #N/A | ID5FUAAH48XAK | #N/A
IN5A8T60AKAWA | #N/A | IC5H6S60AKAAA | #N/A | ID5FUAAH60XAK | #N/A
Performance Series Single Stage 15 SEER |  | Performance Two Stage 17 SEER
IN5A5S18AKAWA | #N/A | IN5H8T24AKAAA | #N/A | Electric Heat Kit - Used w/ D5FUAAH
IN5A5S24AKAWA | #N/A | IN5H8T36AKAAA | #N/A | IEHKMC05KN | #N/A
IN5A5S30AKAWA | #N/A | IN5H8T48AKAAA | #N/A | IEHKMC08KN | #N/A
IN5A5S36AKAWA | #N/A | IN5H8T60AKAAA | #N/A | IEHKMC10KN | #N/A
IN5A5S42AKAWA | #N/A | Performance Single Stage 15 SEER |  | IEHKMC15KN | #N/A
IN5A5S48AKAWA | #N/A | IN5H5S18AKAAA | #N/A | IEHKMC20KN | #N/A
IN5A5S60AKAWA | #N/A | IN5H5S24AKAAA | #N/A | IEHKMC25KN | #N/A
Performance Series Single Stage 14 SEER |  | IN5H5S30AKAAA | #N/A | Electric Heat Kit - Used w/ D5FUHAH
IN5A4S18AKANA | #N/A | IN5H5S36AKAAA | #N/A | CEHKMD05KN | NEW
IN5A4S24AKANA | #N/A | IN5H5S42AKAAA | #N/A | CEHKMD08KN | NEW
IN5A4S30AKANA | #N/A | IN5H5S48AKAAA | #N/A | CEHKMD10KN | NEW
IN5A4S36AKANA | #N/A | IN5H5S60AKAAA | #N/A | CEHKMD15KN | NEW
IN5A4S42AKANA | #N/A |  |  | CEHKMD20KN | NEW
IN5A4S48AKANA | #N/A
IN5A4S60AKANA | #N/A |  |  | ION Wall Control
|  |  |  | ISYST0201CW | #N/A
*Must use with communicating systems
ION Gray Smart Therostat
|  |  |  | ITSTATIIEWF01 | #N/A
*Non Communicating 3H/2C Wi-Fi
DAY & NIGHT MAY 2025
Cased Upflow/Downflow Coils |  | Cased Multipoise Coils |  | Air Handlers
Vertical Power-V |  | Multipoise Power-V |  | ION Variable-Speed ECM Communicating
IEVD5X24M14A | #N/A | IEVM5X24M14A | #N/A | IFCMA5X24L0BA | #N/A
IEVD5X24M17A | #N/A | IEVM5X24M17A | #N/A | IFCMA5B36L0CA | #N/A
IEVD5X30M14A | #N/A | IEVM5X30M17A | #N/A | IFCMA5B48L0CA | #N/A
IEVD5X30M17A | #N/A | IEVM5X31M17A | #N/A | IFCMA5B60L0DA | #N/A
IEVD5X36M17A | #N/A | IEVM5X36M17A | #N/A | Quiet Comfort Variable-Speed ECM 2-Stage w/TXV
IEVD5X36M21A | #N/A | IEVM5X42M21A | #N/A | IFTMA5X24L0BA | #N/A
IEVD5X42M17A | #N/A | IEVM5X48M21A | #N/A | IFTMA5B36L0CA | #N/A
IEVD5X42M21A | #N/A | IEVM5X60M21A | #N/A | IFTMA5B48L0CA | #N/A
IEVD5X48M21A | #N/A | IEVM5X60M24A | #N/A | IFTMA5B60L0DA | #N/A
IEVD5X60M21A | #N/A | IEVM5X61M24A | #N/A | Performance Single-Stage ECM w/TXV
IEVD5X60M24A | #N/A | Multipoise A Coil |  | IFHMA5X24L0BA | #N/A
|  | IEAM5X24M14A | #N/A | IFHMA5X30L0BA | #N/A
|  | IEAM5X24M17A | #N/A | IFHMA5X36L0BA | #N/A
|  | IEAM5X30M14A | #N/A | IFHMA5B42L0CA | #N/A
|  | IEAM5X30M17A | #N/A | IFHMA5B48L0CA | #N/A
|  | IEAM5X36M17A | #N/A | IFHMA5B60L0DA | #N/A
|  | IEAM5X42M21A | #N/A
|  | IEAM5X48M21A | #N/A | Electric Heat Kit
|  | IEAM5X60M24A | #N/A | Use with FCMA5, FTMA5, & FHMA5
Tutco Equal to IEHC Heat Kit
|  |  |  | TFF2401C05 | #N/A | IEHC05BKB | CKFFEH2401C05
|  |  |  | TFF2501C08 | #N/A | IEHC07BKB | CKFFEH2501C08
|  |  |  | TFF2601C10 | #N/A | IEHC10BKB | CKFFEH2601C10
|  |  |  | TFF3101C15 | #N/A | IEHC15BKB | CKFFEH3101C15
|  |  |  | TFF3301C20 | #N/A | IEHC20BKB | CKFFEH3301C20
Downflow Kits
|  |  |  | IEBAC01DFS | #N/A
*Use with slope coils FHMA5 18, 24
*Use with slope coils FCMA5/FTMA5 36
|  |  |  | IEBAC02DFA | #N/A
*Use with A coils FHMA5 30, 36, 42, 48, 60
*Use with A coils FCMA5/FTMA5 24, 48, 60
DAY & NIGHT MAY 2025
95%+ Furnaces |  | 80% Furnaces |  | Zoning
Modulating 97% Variable ECM |  | Two-Stage 80% Communicating ECM |  | Zone Panel
IG97CMN0601714B | #N/A | IG80CTL0451712B | #N/A | ISYST0101ZP | #N/A
IG97CMN0602120B | #N/A | IG80CTL0701412B | #N/A | Smart Sensor Zone Stat
IG97CMN0801714B | #N/A | IG80CTL0701716B | #N/A | ISYSTXZNSMS01 | #N/A
IG97CMN0802120B | #N/A | IG80CTL0702120B | #N/A | Round Zone Dampers
IG97CMN1002122B | #N/A | IG80CTL0901716B | #N/A | CDAMPRND06INCB | #N/A
IG97CMN1202422B | #N/A | IG80CTL0902120B | #N/A | CDAMPRND08INCB | #N/A
Two-Stage 96% Communicating ECM |  | IG80CTL1102120B | #N/A | CDAMPRND10INCB | #N/A
IG96CTN0601714B | #N/A | IG80CTL1352422B | #N/A | CDAMPRND12INCB | #N/A
IG96CTN0801714B | #N/A | Single-Stage 80% Multi Speed ECM |  | CDAMPRND14INCB | #N/A
IG96CTN0802120B | #N/A | IN80MSN0451412A | #N/A | CDAMPRND16INCB | #N/A
IG96CTN1002122B | #N/A | IN80MSN0451714A | #N/A
IG96CTN1202422B | #N/A | IN80MSN0701412A | #N/A
Two-Stage 96% Variable ECM |  | IN80MSN0701712A | #N/A
IG96VTN0401410B | #N/A | IN80MSN0701716A | #N/A
IG96VTN0401712B | #N/A | IN80MSN0702116A | #N/A
IG96VTN0601412B | #N/A | IN80MSN0901714A | #N/A
IG96VTN0601716B | #N/A | IN80MSN0902116A | #N/A
IG96VTN0801716B | #N/A | IN80MSN0902120A | #N/A
IG96VTN0802120B | #N/A | IN80MSN0902420A | #N/A
IG96VTN1002120B | #N/A | IN80MSN1102120A | #N/A
IG96VTN1002122B | #N/A | IN80MSN1102420A | #N/A
IG96VTN1202422B | #N/A | IN80MSN1352420A | #N/A
Single-Stage 96% Multi Speed ECM |  | IN80MSN1552420A | #N/A
IN96MSN0401410A | #N/A | LP Converstion Kit for 80%
IN96MSN0401712A | #N/A | IAGAGC8NPS01B | #N/A
IN96MSN0601412A | #N/A | IAGAGC8NPS01C | #N/A
IN96MSN0601716A | #N/A
IN96MSN0801716A | #N/A
IN96MSN0802120A | #N/A
IN96MSN1002120A | #N/A
IN96MSN1202422A | #N/A
IN96MSN1402422A | #N/A
LP Converstion Kit for 90+%
IAGAGC9NPS01D | #N/A

## Single Zone DLS
Single Zone Quick Reference Guide - R-454B Ductless Systems
AHRI Rated Btu's Cooling @ 95F [35C] Heating @ 47F [6.3C] | SEER2 | EER2 | HSPF2 | Indoor Unit With Wireless Remote | SELL $ | Outdoor Unit With Base Pan Heater | SELL $ | Line Set Liquid x Suction | Max. Line Length | Additional Charge ≥ 25ft | Max. Lift | MCA/MOCP | Recommended Fuse Size | Maximum Heating BTU's at -4F [-20C] | Maximum Heating BTU's at 5F [-15C] | Maximum Cooling BTU's at 110F [43C] | Maximum Cooling BTU's at 122F [50C]
[14 empty] | At 70F [21.1C] Indoor DB |  | At 80F [26.7C] Indoor DB
Deluxe Series High Wall 1:1 Heat Pump Systems
6,000/9,000 | 33.1 | 16.5 | 29 | ID5FPHAH06XAK | #N/A | ID5CPRAH06AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 16A / 20A | 20A | 10130 | 13965 | 15085 | 7892
9,000/12,000 | 31.5 | 16 | 21 | ID5FPHAH09XAK | #N/A | ID5CPRAH09AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 16A / 20A | 20A | 10130 | 13965 | 15085 | 7892
12,000/12,000 | 28 | 13.5 | 13.5 | ID5FPHAH12XAK | #N/A | ID5CPRAH12AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 16A / 20A | 20A | 10130 | 13965 | 15085 | 7892
18,000/20,000 | 24.5 | 14 | 15.2 | ID5FPHAH18XAK | #N/A | ID5CPRAH18AAK | #N/A | 3/8" x 5/8" | 164.04' | .32 Oz/Ft | 82.02' | 24.9A / 25A | 25A | 20482 | 24809 | 23263 | 13286
QuietComfort Series High Wall 1:1 Heat Pump Systems
6,000/7,000 | 25.7 | 18 | 14.8 | ID5FSHAH06XAK | #N/A | ID5CSHAH06AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 12A / 15A | 15A | 5125 | 7700 | 10717 | 7571
9,000/12,000 | 27.5 | 15.5 | 12.5 | ID5FSHAH09XAK | #N/A | ID5CSHAH09AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 15A / 15A | 15A | 8080 | 11500 | 11215 | 7447
12,000/12,000 | 25.5 | 13.5 | 10.5 | ID5FSHAH12XAK | #N/A | ID5CSHAH12AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 15A / 15A | 15A | 9260 | 11500 | 12194 | 6490
18,000/18,000 | 21.5 | 12.5 | 11 | ID5FSHAH18XAK | #N/A | ID5CSHAH18AAK | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/Ft | 65.62' | 19A / 20A | 20A | 15050 | 18000 | 14794 | 10590
24,000/29,000 | 21.2 | 13 | 13.5 | ID5FSHAH24XAK | #N/A | ID5CSHAH24AAK | #N/A | 3/8" x 5/8" | 164.04' | .32 Oz/Ft | 82.02' | 24.9A / 25A | 25A | 20482 | 24200 | 23263 | 13286
33,000/36,000 | 19.6 | 12 | 10.5 | ID5FSHAH33XAK | #N/A | ID5CSHAH33AAK | #N/A | 3/8" x 3/4" | 164.04' | .32 Oz/Ft | 82.02' | 34A / 35A | 35A | 29178 | 35000 | 32895 | 21554
12,000/12,000 | 23.5 | 13 | 9.5 | ID5FSHAH12XAJ | #N/A | ID5CSRAH12AAJ | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 18A / 20A | 20A | 4374 | 7700 | 11229 | 6401
9,000/10,000 | 26 | 14.9 | 12.5 | ID5FSHAH09XAK | #N/A | ID5CSRAH09AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 12A / 15A | 15A | 7578 | 8000 | 11188 | 8230
12,000/12,000 | 25.5 | 13.1 | 10.7 | ID5FSHAH12XAK | #N/A | ID5CSRAH12AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 12A / 15A | 15A | 7175 | 8400 | 11096 | 7438
18,000/18,000 | 23.5 | 12.8 | 10.8 | ID5FSHAH18XAK | #N/A | ID5CSRAH18AAK | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/Ft | 65.62' | 18A / 20A | 20A | 10925 | 12800 | 14747 | 5496
24,000/25,000 | 23.1 | 14 | 11.7 | ID5FSHAH24XAK | #N/A | ID5CSRAH24AAK | #N/A | 3/8" x 5/8" | 164.04' | .32 Oz/Ft | 82.02' | 24A / 25A | 25A | 13829 | 19600 | 23103 | 18744
30,000/30,000 | 20.5 | 12 | 9.5 | ID5FSHAH30XAK | #N/A | ID5CSRAH30AAK | #N/A | 3/8" x 3/4" | 164.04' | .32 Oz/Ft | 82.02' | 28A / 30A | 30A | 21495 | 20000 | 26498 | 9359
36,000/36,000 | 19 | 8.7 | 8.5 | ID5FSHAH36XAK | #N/A | ID5CSRAH36AAK | #N/A | 3/8" x 3/4" | 213.25' | .32 Oz/Ft | 98.43' | 33A / 35A | 35A | 22961 | 22000 | 26995 | 12885
QuietComfort Series 4-Way Cassette 1:1 Heat Pump Systems
9,000/10,000 | 22.7 | 14 | 12.2 | ID5FSCAH12XAK | #N/A | ID5CSHAH09AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 15A / 15A | 15A | 7400 | 11000 | 11100 | 6483
12,000/12,000 | 23.7 | 12.7 | 11.6 | ID5FSCAH12XAK | #N/A | ID5CSHAH12AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 15A / 15A | 15A | 7500 | 11500 | 11700 | 6558
16,000/19,000 | 20 | 12.5 | 12.4 | ID5FSCAH18XAK | #N/A | ID5CSHAH18AAK | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/Ft | 65.62' | 19A / 20A | 20A | 14000 | 17000 | 14000 | 9879
23,500/25,000 | 20.8 | 12 | 11.6 | ID5FSCAH24XAK | #N/A | ID5CSHAH24AAK | #N/A | 3/8" x 5/8" | 164.04' | .32 Oz/Ft | 82.02' | 24.9A / 25A | 25A | 17300 | 23800 | 21000 | 13293
36,600/37,000 | 21.3 | 12 | 10.6 | ID5FLCAH36XAK | #N/A | ID5CLHAH36AAK | #N/A | 3/8" x 3/4" | 246' | .32 Oz/Ft | 98.4' | 38A / 40A | 40A | 30100 | 37000 | 34400 | 16842
48,000 / 53,000 | 18.2 | 10 | 11 | ID5FLCAH48XAK | #N/A | ID5CLHAH48AAK | #N/A | 3/8" x 3/4" | 246' | .32 Oz/Ft | 98.4' | 44A / 45A | 45A | 38200 | 47500 | 38700 | 14068
9,000/10,000 | 21.7 | 14.3 | 11.3 | ID5FSCAH12XAK | #N/A | ID5CSRAH09AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 12A / 15A | 15A | 6100 | 8300 | 11700 | 7165
12,000/12,000 | 21.2 | 12.5 | 10.4 | ID5FSCAH12XAK | #N/A | ID5CSRAH12AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 12A / 15A | 15A | 6700 | 8400 | 11700 | 6735
16,800/18,000 | 20.8 | 12.5 | 11.4 | ID5FSCAH18XAK | #N/A | ID5CSRAH18AAK | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/Ft | 65.62' | 18A / 20A | 20A | 10600 | 12800 | 13400 | 4709
24,000/25,000 | 22.1 | 12 | 10.5 | ID5FSCAH24XAK | #N/A | ID5CSRAH24AAK | #N/A | 3/8" x 5/8" | 164.04' | .32 Oz/Ft | 82.02' | 24A / 25A | 25A | 12800 | 18500 | 21000 | 14388
36,000/38,000 | 20 | 9.7 | 10.4 | ID5FLCAH36XAK | #N/A | ID5CLRAH36AAK | #N/A | 3/8" x 3/4" | 246' | .32 Oz/Ft | 98.4' | 33A / 35A | 35A | 20800 | 26600 | 28200 | 16644
48,000/50,000 | 19.1 | 9.5 | 9.9 | ID5FLCAH48XAK | #N/A | ID5CLRAH48AAK | #N/A | 3/8" x 3/4" | 246' | .32 Oz/Ft | 98.4' | 39A / 40A | 40A | 32100 | 40500 | 40400 | 21475
9k, 12k, 18k 4-way Cassette Grille |  |  |  | IKSALG0103AAA | #N/A
24k, 36k, 48k 4-way Cassette Grille |  |  |  | IKSALG0203AAA | #N/A
Ceiling Cassette Grille for 9K, 12K & 18K BTU KSALG0103AAA (unbranded) ~ Ceiling Cassette Grille for 24K, 36K & 48K KSALG0203AAA (unbranded) [Required on all sizes and Sold Separately]
QuietComfort Series 1-Way Cassette 1:1 Heat Pump Systems
6,500/7,400 | 22 | 15.2 | 12 | ID5FSOAH06XAK | #N/A | ID5CSHAH06AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 12A / 15A | 15A | 6400 | 8100 | 11200 | 6483
9,000/10,900 | 24 | 14.7 | 12.2 | ID5FSOAH12XAK | #N/A | ID5CSHAH09AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 15A / 15A | 15A | 8600 | 10600 | 11200 | 6483
12,000/12,500 | 23 | 13 | 10.2 | ID5FSOAH12XAK | #N/A | ID5CSHAH12AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 15A / 15A | 15A | 8600 | 11500 | 11900 | 6558
16,700/20,000 | 20.7 | 12.5 | 12.2 | ID5FSOAH18XAK | #N/A | ID5CSHAH18AAK | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/Ft | 65.62' | 19A / 20A | 20A | 14500 | 17500 | 14500 | 10289
9,000/11,000 | 22.2 | 14.4 | 11.8 | ID5FSOAH12XAK | #N/A | ID5CSRAH09AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 12A / 15A | 15A | 6100 | 8000 | 10100 | 7165
12,000/12,000 | 22.2 | 12.3 | 10.1 | ID5FSOAH12XAK | #N/A | ID5CSRAH12AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 12A / 15A | 15A | 6800 | 8600 | 12400 | 7165
18,000/18,000 | 22.3 | 12.5 | 12.2 | ID5FSOAH18XAK | #N/A | ID5CSRAH18AAK | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/Ft | 65.62' | 18A / 20A | 20A | 10300 | 13100 | 14500 | 5118
One-Way Cassete units include grills ¦ 9k/12k IDU Capacity select via dip switch and must match ODU size
QuietComfort Series Low Static Slim Ducted 1:1 Heat Pump Systems
6,500/8,000 | 21.5 | 14.5 | 13.8 | ID5FSDAH06XAK | #N/A | ID5CSHAH06AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 12A / 15A | 15A | 6302 | 7800 | 10448 | 7387
9,000/10,000 | 21.5 | 13.5 | 12.5 | ID5FSDAH12XAK | #N/A | ID5CSHAH09AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 15A / 15A | 15A | 9704 | 11200 | 11147 | 6056
12,000/12,500 | 20 | 12 | 10.2 | ID5FSDAH12XAK | #N/A | ID5CSHAH12AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 15A / 15A | 15A | 10256 | 11800 | 11430 | 6220
17,000/19,000 | 18 | 12 | 10.8 | ID5FSDAH18XAK | #N/A | ID5CSHAH18AAK | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/Ft | 65.62' | 19A / 20A | 20A | 15917 | 18000 | 14525 | 10543
9,000/10,000 | 19.6 | 12.8 | 11 | ID5FSDAH12XAK | #N/A | ID5CSRAH09AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 12A / 15A | 15A | 6899 | 8600 | 10577 | 7650
11,500/12,000 | 19 | 11.7 | 10.3 | ID5FSDAH12XAK | #N/A | ID5CSRAH12AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 12A / 15A | 15A | 6899 | 8800 | 10901 | 7820
17,000/20,000 | 20 | 12.5 | 10.6 | ID5FSDAH18XAK | #N/A | ID5CSRAH18AAK | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/Ft | 65.62' | 18A / 20A | 20A | 10297 | 14000 | 14310 | 7609
9k/12k IDU Capacity select via dip switch and must match ODU size
QuietComfort Series High Static Slim Ducted 1:1 Heat Pump Systems
9,000/9,900 | 20.6 | 14 | 13.8 | ID5FSDAH12XHK | #N/A | ID5CSHAH09AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 15A / 15A | 15A | 8448 | 11900 | 11048 | 6060
12,000/12,000 | 20.2 | 12 | 10.6 | ID5FSDAH12XHK | #N/A | ID5CSHAH12AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 15A / 15A | 15A | 10171 | 12000 | 11089 | 6537
17,500/19,500 | 18.5 | 12.1 | 11.1 | ID5FSDAH18XHK | #N/A | ID5CSHAH18AAK | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/Ft | 65.62' | 19A / 20A | 20A | 15200 | 18000 | 15924 | 10325
24,000/26,000 | 19.2 | 12 | 11.7 | ID5FSDAH24XHK | #N/A | ID5CSHAH24AAK | #N/A | 3/8" x 5/8" | 164.04' | .32 Oz/Ft | 82.02' | 24.9A / 25A | 25A | 19339 | 24000 | 20858 | 13979
36,000/42,000 | 17.8 | 12 | 11.1 | ID5FLDAH36XHK | #N/A | ID5CLHAH36AAK | #N/A | 3/8" x 3/4" | 246' | .32 Oz/Ft | 98.4' | 34A / 35A | 35A | 31152 | 39385 | 33311 | 15545
48,000/52,000 | 16.8 | 10.4 | 10.8 | ID5FLDAH48XHK | #N/A | ID5CLHAH48AAK | #N/A | 3/8" x 3/4" | 246' | .32 Oz/Ft | 98.4' | 44A / 45A | 45A | 38109 | 48560 | 41933 | 12003
55,000/60,000 | 15.9 | 10.2 | 10.4 | ID5FLDAH58XHK | #N/A | ID5CLHAH58AAK | #N/A | 3/8" x 3/4" | 246' | .32 Oz/Ft | 98.4' | 44A / 45A | 45A | 45383 | 55902 | 39392 | 11014
9,000/10,000 | 19.8 | 13 | 11.5 | ID5FSDAH12XHK | #N/A | ID5CSRAH09AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 12A / 15A | 15A | 6554 | 8300 | 9690 | 7083
12,000/12,000 | 19.5 | 12 | 10.5 | ID5FSDAH12XHK | #N/A | ID5CSRAH12AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 12A / 15A | 15A | 7036 | 8900 | 10390 | 7776
17,500/20,000 | 20 | 13.3 | 11.4 | ID5FSDAH18XHK | #N/A | ID5CSRAH18AAK | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/Ft | 65.62' | 18A / 20A | 20A | 10663 | 14200 | 15303 | 5773
24,000/25,000 | 19 | 12.5 | 11 | ID5FSDAH24XHK | #N/A | ID5CSRAH24AAK | #N/A | 3/8" x 5/8" | 164.04' | .32 Oz/Ft | 82.02' | 24A / 25A | 25A | 15098 | 19000 | 21485 | 15668
36,000/40,000 | 18.8 | 10.2 | 10.2 | ID5FLDAH36XHK | #N/A | ID5CLRAH36AAK | #N/A | 3/8" x 3/4" | 246' | .32 Oz/Ft | 98.4' | 33A / 35A | 35A | 21421 | 26470 | 31407 | 16644
48,000/50,000 | 17.2 | 10 | 9.8 | ID5FLDAH48XHK | #N/A | ID5CLRAH48AAK | #N/A | 3/8" x 3/4" | 246' | .32 Oz/Ft | 98.4' | 39A / 40A | 40A | 32888 | 39357 | 42960 | 22369
58,000/60,000 | 17 | 10 | 9.8 | ID5FLDAH58XHK | #N/A | ID5CLRAH58AAK | #N/A | 3/8" x 3/4" | 246' | .32 Oz/Ft | 98.4' | 42A / 45A | 45A | 31868 | 39999 | 49604 | 22605
9k/12k IDU Capacity select via dip switch and must match ODU size
QuietComfort Series Floor Console 1:1 Heat Pump Systems
9,000/9,000 | 27.3 | 15.2 | 10.9 | ID5FSFAH09XAK | #N/A | ID5CSHAH09AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 15A / 15A | 15A | 8100 | 11300 | 11300 | 6483
12,000/12,000 | 25 | 12.7 | 10.6 | ID5FSFAH12XAK | #N/A | ID5CSHAH12AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 15A / 15A | 15A | 8200 | 11300 | 11600 | 6558
16,000/17,000 | 20.2 | 12.5 | 10.2 | ID5FSFAH16XAK | #N/A | ID5CSHAH18AAK | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/Ft | 65.62' | 19A / 20A | 20A | 13600 | 17500 | 13000 | 9107
9,000/9,000 | 26 | 16.3 | 13.9 | ID5FSFAH09XAK | #N/A | ID5CSRAH09AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 12A / 15A | 15A | 6300 | 8600 | 10800 | 7165
12,000/12,000 | 24.7 | 12.7 | 11 | ID5FSFAH12XAK | #N/A | ID5CSRAH12AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 12A / 15A | 15A | 6300 | 8900 | 11500 | 6664
16,000/17,000 | 23.9 | 12.5 | 13.5 | ID5FSFAH16XAK | #N/A | ID5CSRAH18AAK | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/Ft | 65.62' | 18A / 20A | 20A | 10100 | 13100 | 13700 | 4811
QuietComfort Series Underceiling Console 1:1 Heat Pump Systems
18,000/18,000 | 22.4 | 12.5 | 10.4 | ID5FCFAH18XAK | #N/A | ID5CSHAH18AAK | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/Ft | 65.62' | 19A / 20A | 20A | 14500 | 17000 | 14500 | 10289
24,000/24,500 | 21.2 | 12.2 | 11.1 | ID5FCFAH24XAK | #N/A | ID5CSHAH24AAK | #N/A | 3/8" x 5/8" | 164.04' | .32 Oz/Ft | 82.02' | 24.9A / 25A | 25A | 16500 | 24200 | 21200 | 13293
36,000/38,000 | 20 | 10.2 | 10 | ID5FCFAH36XAK | #N/A | ID5CLHAH36AAK | #N/A | 3/8" x 3/4" | 246' | .32 Oz/Ft | 98.4' | 38A / 40A | 40A | 34500 | 39500 | 35200 | 18316
48,000/50,000 | 19.9 | 9.5 | 10.2 | ID5FCFAH48XAK | #N/A | ID5CLHAH48AAK | #N/A | 3/8" x 3/4" | 246' | .32 Oz/Ft | 98.4' | 44A / 45A | 45A | 36000 | 47000 | 39700 | 23174
54,000/60,000 | 19.5 | 9.6 | 9.5 | ID5FCFAH58XAK | #N/A | ID5CLHAH58AAK | #N/A | 3/8" x 3/4" | 246' | .32 Oz/Ft | 98.4' | 44A / 45A | 45A | 47700 | 54000 | 36700 | 10243
17,000/19,000 | 20.5 | 12.6 | 10.3 | ID5FCFAH18XAK | #N/A | ID5CSRAH18AAK | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/Ft | 65.62' | 18A / 20A | 20A | 10500 | 12800 | 14800 | 5118
22,000/26,000 | 20.5 | 12 | 12.1 | ID5FCFAH24XAK | #N/A | ID5CSRAH24AAK | #N/A | 3/8" x 5/8" | 164.04' | .32 Oz/Ft | 82.02' | 24A / 25A | 25A | 12000 | 18600 | 21000 | 13293
36,000/37,000 | 20.2 | 12 | 10.8 | ID5FCFAH36XAK | #N/A | ID5CLRAH36AAK | #N/A | 3/8" x 3/4" | 246' | .32 Oz/Ft | 98.4' | 33A / 35A | 35A | 24100 | 26000 | 29500 | 17128
48,000/50,000 | 18.7 | 9.4 | 10.1 | ID5FCFAH48XAK | #N/A | ID5CLRAH48AAK | #N/A | 3/8" x 3/4" | 246' | .32 Oz/Ft | 98.4' | 39A / 40A | 40A | 34300 | 38500 | 41100 | 22444
54,000/60,000 | 18.1 | 9 | 10.7 | ID5FCFAH58XAK | #N/A | ID5CLRAH58AAK | #N/A | 3/8" x 3/4" | 246' | .32 Oz/Ft | 98.4' | 42A / 45A | 45A | 29500 | 35000 | 41200 | 18762
Performance Series High Wall 1:1 Heat Pump Systems
9,000/10,000 | 21.5 | 12.5 | 9.1 | ID5FEHAH09XCJ | #N/A | ID5CERAH09AAJ | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 18A / 20A | 20A |  | 6797 | 8585 | 6128
12,000/12,000 | 21.4 | 10 | 8.7 | ID5FEHAH12XCJ | #N/A | ID5CERAH12AAJ | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 19A / 20A | 20A |  | 6264 | 9325 | 4917
9,000/10,000 | 21.7 | 12.6 | 9.4 | ID5FEHAH09XCK | #N/A | ID5CERAH09AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 12A / 15A | 15A |  | 6459 | 8759 | 6483
12,000/12,000 | 21.4 | 10.8 | 9.2 | ID5FEHAH12XCK | #N/A | ID5CERAH12AAK | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 13A / 15A | 15A |  | 7752 | 9427 | 4640
18,000/18,800 | 20.3 | 11.5 | 9.1 | ID5FEHAH18XCK | #N/A | ID5CERAH18AAK | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/Ft | 65.62' | 15A / 20A | 20A |  | 11493 | 14684 | 10539
24,000/24,000 | 18.5 | 9.7 | 9 | ID5FEHAH24XCK | #N/A | ID5CERAH24AAK | #N/A | 3/8" x 5/8" | 164.04' | .32 Oz/Ft | 82.02' | 19A / 20A | 20A |  | 16443 | 19646 | 14260
30,000/30,000 | 22.4 | 12 | 9 | ID5FEHAH30XCK | #N/A | ID5CERAH30AAK | #N/A | 3/8" x 5/8" | 164.04' | .32 Oz/Ft | 82.02' | 28A / 30A | 30A |  | 19812 | 27299 | 9137
36,000/36,000 | 19.5 | 9.4 | 9.1 | ID5FEHAH36XCK | #N/A | ID5CERAH36AAK | #N/A | 3/8" x 5/8" | 213.25' | .32 Oz/Ft | 98.4' | 33A / 35A | 35A |  | 25518 | 25709 | 9943
Accessories & Warranty Information
ICP No Hassle Warranty: Deluxe and QuietComfort Series ductless units qualify for No Hassle Warranty. See warranty certificate for full details and exclusions.
Residential & Multi-Family Applications: 10 year limited warranty to original purchaser on compressor and parts when system is *registered within 90-days of installation. *Registration not required in CA and Quebec .
Commercial Applications: 7 year limited warranty to original purchaser on compressor and parts. See Warranty documents for full details

## Ducted Solutions
Ducted Solutions Quick Reference Guide | [13 empty] | Ductless Systems
AHRI Rated Btu's Cooling @ 95F [35C] Heating @ 47F [6.3C] | SEER2 | EER2 | HSPF2 | Indoor Unit With Factory Installed 24V Interface | SELL $ | Outdoor Unit With Base Pan Heater | SELL $ | Line Set Liquid x Suction | Max. Line Length | Additional Charge ≥ 25ft | Max. Lift | MCA/MOCP | Recommended Fuse Size | Maximum Heating BTU's at -5F [-20F] | Maximum Heating BTU's at 5F [-15C] | Maximum Cooling BTU's at 113F [45C] | Maximum Cooling BTU's at 122F [50C]
[14 empty] | At 69F [20.5C] Indoor DB |  | At 75.2F [24C] Indoor DB
This sheet is not intended to replace the installation instructions. It is a reference guide only. Always read through the installation instructions.
QuietComfort Series AHU 1:1 Heat Pump Systems w/ Factory Installed 24V Interface
18,000/19,500 | 18.2 | 12 | 10.1 | ID5FSAAH18XBK | #N/A | ID5CSHAH18AAK | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/Ft | 65.62' | 19A / 20A | 20A | 15484 | 18688 | 17391 | 12157
23,000/26,000 | 18.8 | 12 | 10 | ID5FSAAH24XBK | #N/A | ID5CSHAH24AAK | #N/A | 3/8" x 5/8" | 164.04' | .32 Oz/Ft | 82.02' | 24.9A / 25A | 25A | 19483 | 24689 | 25819 | 16531
33,000/35,000 | 16.7 | 11.7 | 10 | ID5FSAAH30XBK | #N/A | ID5CSHAH33AAK | #N/A | 3/8" x 3/4" | 164.04' | .32 Oz/Ft | 82.02' | 38A / 40A | 40A | 29944 | 35826 | 34216 | 15385
36,000/38,000 | 17.3 | 11.7 | 9.5 | ID5FLAAH36XAK | #N/A | ID5CLHCH36AAK | #N/A | 3/8" x 3/4" | 246' | .32 Oz/Ft | 98.4' | 44A / 45A | 45A | 32267 | 39385 | 33526 | 14764
48,000/50,000 | 17 | 10.1 | 10.2 | ID5FLAAH48XAK | #N/A | ID5CLHCH48AAK | #N/A | 3/8" x 3/4" | 246' | .32 Oz/Ft | 98.4' | 12A / 15A | 15A | 32097 | 41899 | 42510 | 27958
54,000/59,000 | 15.4 | 10 | 9.2 | ID5FLAAH60XAK | #N/A | ID5CLHCH58AAK | #N/A | 3/8" x 3/4" | 246' | .32 Oz/ft | 98.4' | 44A / 45A | 45A | 41493 | 54678 | 37722 | 10562
18,000/18,000 | 18.5 | 12.2 | 9.8 | ID5FSAAH18XBK | #N/A | ID5CSRAH18AAK | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/ft | 65.62' | 18A / 20A | 20A | 10929 | 13689 | 15398 | 9595
24,000/25,000 | 19.8 | 11.7 | 9 | ID5FSAAH24XBK | #N/A | ID5CSRAH24AAK | #N/A | 3/8" x 5/8" | 164.04' | .32 Oz/ft | 82.02' | 24A / 25A | 25A | 15364 | 18920 | 23239 | 15108
30,000/30,000 | 17 | 11 | 8.8 | ID5FSAAH30XBK | #N/A | ID5CSRAH30AAK | #N/A | 3/8" x 3/4" | 164.04' | .32 Oz/ft | 82.02' | 28A / 30A | 30A | 12966 | 20820 | 27432 | 9475
36,000/37,000 | 16 | 8.6 | 7.7 | ID5FSAAH36XBK | #N/A | ID5CSRAH36AAK | #N/A | 3/8" x 3/4" | 213.25' | .32 Oz/ft | 98.43' | 33A / 35A | 35A | 18896 | 23536 | 27757 | 10062
36,000/38,000 | 15.9 | 9 | 9.3 | ID5FLAAH36XAK | #N/A | ID5CLRCH36AAK | #N/A | 3/8" x 3/4" | 246' | .32 Oz/ft | 98.4' | 33A / 35A | 35A | 21062 | 24802 | 28115 | 15282
48,000/50,000 | 17.8 | 10 | 10 | ID5FLAAH48XAK | #N/A | ID5CLRCH48AAK | #N/A | 3/8" x 3/4" | 246' | .32 Oz/ft | 98.4' | 39A / 40A | 40A | 32653 | 34918 | 43227 | 21724
55,000/59,000 | 16 | 9.5 | 9.2 | ID5FLAAH60XAK | #N/A | ID5CLRCH58AAK | #N/A | 3/8" x 3/4" | 246' | .32 Oz/ft | 98.4' | 42A / 45A | 45A | 29985 | 35954 | 42081 | 19276
QuietComfort AHU 1:1 QuietComfort Heat Pump Systems (Crossover Solutions)
18,000/18,000 | 19 | 12.5 | 10.2 | ID5FUHAH24XAK | #N/A | ID5CUHAH18AAK | #N/A | 3/8" x 3/4" | 98.42' | .70 Oz/ft | 65.62' | 16A / 20A | 20A | 16514 | 19261 | 17916 | 14214
24,000/24,000 | 18.7 | 12 | 10 | ID5FUHAH24XAK | #N/A | ID5CUHAH24AAK | #N/A | 3/8" x 3/4" | 164.04' | .70 Oz/ft | 82.02' | 19A / 20A | 20A | 17927 | 21458 | 23751 | 17725
30,000/33,000 | 17.2 | 12.1 | 10.8 | ID5FUHAH36XAK | #N/A | ID5CUHAH30AAK | #N/A | 3/8" x 3/4" | 164.04' | .70 Oz/ft | 82.02' | 29.5A / 30A | 30A | 27252 | 33236 | 32779 | 20649
36,000/37,000 | 18 | 12 | 10 | ID5FUHAH36XAK | #N/A | ID5CUHAH36AAK | #N/A | 3/8" x 3/4" | 246' | .70 Oz/ft | 98.43' | 29A / 30A | 30A | 37170 | 38436 | 38525 | 24495
48,000/48,000 | 17.5 | 12 | 9.5 | ID5FUHAH60XAK | #N/A | ID5CUHAH48AAK | #N/A | 3/8" x 3/4" | 246' | .70 Oz/ft | 98.43' | 38A / 40A | 40A | 43387 | 48328 | 45560 | 32789
54,000/55,000 | 17.5 | 12 | 9.5 | ID5FUHAH60XAK | #N/A | ID5CUHAH60AAK | #N/A | 3/8" x 3/4" | 246' | .70 Oz/ft | 98.43' | 40A / 40A | 40A | 49989 | 56830 | 53125 | 33738
Performance AHU 1:1 QuietComfort Heat Pump Systems (Crossover Solutions)
18,000/19,000 | 19 | 12.5 | 9.8 | ID5FUAAH18XAK | #N/A | ID5CUHAH18AAK | #N/A | 3/8" x 3/4" | 98.42' | .70 Oz/ft | 65.62' | 16A / 20A | 20A | 16780 | 19813 | 18855 | 15316
23,000/24,000 | 18.4 | 11.7 | 10 | ID5FUAAH24XAK | #N/A | ID5CUHAH24AAK | #N/A | 3/8" x 3/4" | 164.04' | .70 Oz/ft | 82.02' | 19A / 20A | 20A | 17309 | 22891 | 25051 | 16371
30,000/34,000 | 16.9 | 11.7 | 10 | ID5FUAAH30XAK | #N/A | ID5CUHAH30AAK | #N/A | 3/8" x 3/4" | 164.04' | .70 Oz/ft | 82.02' | 29.5A / 30A | 30A | 28190 | 33287 | 32404 | 21287
36,000/37,000 | 17.4 | 11.7 | 10.3 | ID5FUAAH36XAK | #N/A | ID5CUHAH36AAK | #N/A | 3/8" x 3/4" | 246' | .70 Oz/ft | 98.43' | 29A / 30A | 30A | 35662 | 41538 | 36996 | 24959
48,000/50,000 | 16.5 | 10.5 | 9.5 | ID5FUAAH48XAK | #N/A | ID5CUHAH48AAK | #N/A | 3/8" x 3/4" | 246' | .70 Oz/ft | 98.43' | 38A / 40A | 40A | 40674 | 46850 | 42234 | 30465
54,000/56,000 | 16 | 10 | 9 | ID5FUAAH60XAK | #N/A | ID5CUHAH60AAK | #N/A | 3/8" x 3/4" | 246' | .70 Oz/ft | 98.43' | 40A / 40A | 40A | 46714 | 54228 | 50848 | 34671
18k/24k IDU Capacity select via dip switch and must match ODU size
Performance AHU 1:1 Performance Heat Pump Systems (Crossover Solutions)
18,000/18,000 | 18.8 | 11 | 9.2 | ID5FUAAH18XAK | #N/A | ID5CURAH18AAK | #N/A | 3/8" x 3/4" | 98.42' | .70 Oz/ft | 65.62' | 16A / 20A | 20A | 9175 | 11379 | 15815 | 9543
24,000/26,000 | 18.2 | 11 | 9.7 | ID5FUAAH24XAK | #N/A | ID5CURAH24AAK | #N/A | 3/8" x 3/4" | 164.04' | .70 Oz/ft | 82.02' | 19A / 20A | 20A | 16963 | 22433 | 24550 | 16043
30,000/31,000 | 17 | 10.8 | 8.5 | ID5FUAAH30XAK | #N/A | ID5CURAH30AAK | #N/A | 3/8" x 3/4" | 164.04' | .70 Oz/ft | 82.02' | 22.5A / 25A | 25A | 15521 | 19356 | 29603 | 14498
36,000/36,000 | 16.2 | 10 | 8.7 | ID5FUAAH36XAK | #N/A | ID5CURAH36AAK | #N/A | 3/8" x 3/4" | 246' | .70 Oz/ft | 98.42' | 24A / 30A | 30A | 22765 | 26515 | 32032 | 18926
48,000/48,000 | 16 | 10 | 8.5 | ID5FUAAH48XAK | #N/A | ID5CURAH48AAK | #N/A | 3/8" x 3/4" | 246' | .70 Oz/ft | 98.42' | 36A / 40A | 40A | 35908 | 43152 | 42022 | 30316
54,000/54,000 | 15.2 | 8.7 | 8.4 | ID5FUAAH60XAK | #N/A | ID5CURAH60AAK | #N/A | 3/8" x 3/4" | 246' | .70 Oz/ft | 98.42' | 39A / 40A | 40A | 35597 | 41473 | 41858 | 32571
18k/24k IDU Capacity select via dip switch and must match ODU size
Accessory Electric Heater Kits for D4FS(L)AA & D5FUAA | [8 empty] | Accessory Electric Heater Kits for D5FUHA
Model Number | SELL $ |  | Size Used With |  | Model Number | SELL $ | Size Used With |  | Model Number |  | Size | Size Used With | Model Number | Size | Size Used With
IEHKMC05KN | #N/A |  | 18k, 24k, 30k, 36k |  | IEHKMC15KN | #N/A | 24k, 30k, 36k, 48k, 60k |  | EHKMD05KN |  | 5 kW | 24k, 36k | EHKMD15KN | 15 kW | 24k, 36k, 60k
IEHKMC08KN | #N/A |  | 18k, 24k, 30k, 36k, 48k |  | IEHKMC20KN | #N/A | 36k, 48k, 60k |  | EHKMD08KN |  | 8 kW | 24k, 36k | EHKMD20KN | 20 kW | 36k, 60k
IEHKMC10KN | #N/A |  | 18k, 24k, 30k, 36k, 48k, 60k |  | IEHKMC25KN | #N/A | 60k |  | EHKMD10KN |  | 10 kW | 24k, 36k, 60k | EHKMD25KN | 25 kW | 60k
Installation Note: A separate power supply is required for an Auxiliary Electric Heater. Do not power the electric heater directly from the outdoor unit. Always follow recommendations on the installation guide
System Installation Notes:
*The D5FUAA, D5FUHA, D5CURA, and D5CUHA systems are powered seperately. The data supplied from MCA, MOCP, and Recommended Fuse Size is for the outdoor unit.
The minimum line length for all systems is 10'
D5FUAA/D5FUHA systems allow for either Non-Polarity RS485 or 24V Communication. Refer to the system's Product Data for more information on required wiring depending on communication style.
D5FUAA Heat Pump systems require the use of a 3/8" bi-flow liquid line filter drier. The use of filter driers is not allowed on any other ductless style system.
Warranty Information
Residential & Multi-Family Applications: 10 year limited warranty to original purchaser on compressor and parts when system is *registered within 90-days of installation. *Registration not required in CA and Quebec .
Commercial Applications: 7 year limited warranty to original purchaser on compressor and parts. See Warranty documents for full details

## Multi-Zone DLS
Multizone Quick Reference Guide - R-454B Ductless Systems
Outdoor Unit With Base Pan Heater | SELL $ | Max Zones | Max Heating Capacity BTU's |  |  | Maximum Cooling BTU's at 5F [-15C] |  | Port Combinations |  | Max Line Set Length Per Zone | Max Total Line Set Length | Pre-Charge Length | Max. Lift | MCA | MOCP | Recommended Fuse Size
|  |  | @5F [-15C] | @-13F [-25C] | @-22F [-30C] | @95F [35C] | @109F [43C] | Liquid | Suction
This sheet is not intended to replace the installation instructions. It is a reference guide only. Always read through the installation instructions.
Deluxe System Multi-Zone Heat Pump
ID5CMHAH18CAK | #N/A | 3 | 19000 | 13600 | 11000 | 19000 | 24000 | 3 @ 1/4" | 3 @ 3/8" | 98.4' | 196.9' | 73.8' | 49.21' | 17.5 | 20 | 20
ID5CMHAH24DAK | #N/A | 4 | 25000 | 17000 | 14000 | 24000 | 32000 | 4 @ 1/4" | 3 @ 3/8" + 1 @ 1/2" | 114.8' | 262.5' | 98.4' | 49.21' | 30 | 35 | 35
ID5CMHAH30EAK | #N/A | 5 | 36000 | 28000 | 22400 | 30000 | 39000 | 5 @ 1/4" | 3 @ 3/8" + 2 @ 1/2" | 114.8' | 262.5' | 123' | 49.21' | 37 | 40 | 40
ID5CMHAH36EAK | #N/A | 5 | 36000 | 28000 | 22400 | 36000 | 39000 | 5 @ 1/4" | 3 @ 3/8" + 2 @ 1/2" | 114.8' | 262.5' | 123' | 49.21' | 37 | 40 | 40
ID5CMHAH48FAK | #N/A | 6 | 47000 | 30000 | 25000 | 47000 | 45000 | 6 @ 1/4" | 4 @ 3/8" + 2 @ 1/2" | 114.8' | 262.5' | 147.6' | 49.21' | 37 | 40 | 40
ID5CMHAH55FAK | #N/A | 6 | 47000 | 32000 | 26400 | 51000 | 46000 | 6 @ 1/4" | 4 @ 3/8" + 2 @ 1/2" | 114.8' | 262.5' | 147.6' | 49.21' | 39.5 | 40 | 40
QuietComfort Series Multi-Zone Heat Pump Systems
ID5CMRAH18CAK | #N/A | 3 | 13500 | 8200 |  | 18000 | 18800 | 3 @ 1/4" | 3 @ 3/8" | 98.4' | 196.9' | 73.8' | 49.21' | 16 | 20 | 20
ID5CMRAH24DAK | #N/A | 4 | 18000 | 12000 |  | 24000 | 27400 | 4 @ 1/4" | 3 @ 3/8" + 1 @ 1/2" | 114.8' | 262.5' | 98.4' | 49.21' | 23 | 25 | 25
ID5CMRAH30EAK | #N/A | 5 | 26000 | 17500 |  | 30000 | 30600 | 5 @ 1/4" | 3 @ 3/8" + 2 @ 1/2" | 114.8' | 262.5' | 123' | 49.21' | 30.5 | 35 | 35
ID5CMRAH36EAK | #N/A | 5 | 26000 | 17500 |  | 36000 | 30600 | 5 @ 1/4" | 3 @ 3/8" + 2 @ 1/2" | 114.8' | 262.5' | 123' | 49.21' | 30.5 | 35 | 35
ID5CMRAH48FAK | #N/A | 6 | 36000 | 27000 |  | 47000 | 42000 | 6 @ 1/4" | 4 @ 3/8" + 2 @ 1/2" | 114.8' | 262.5' | 147.6' | 49.21' | 34 | 40 | 40
ID5CMRAH55FAK | #N/A | 6 | 39000 | 27800 |  | 60000 | 46000 | 6 @ 1/4" | 4 @ 3/8" + 2 @ 1/2" | 114.8' | 262.5' | 147.6' | 49.21' | 36 | 40 | 40
Indoor Unit Types, Models, and Approved Btu/hr Combinations
Installation Notes
Port adaptors included with the outdoor units and no branch boxes required.
10' minimum line length require per zone.
Minimum 2 zones must be connected.
Up to 2 AHUs can be used for the following combinations only: 18+18, 18+24, 18+30, 18+36, 24+24, 24+30, 24+36. In the case that 2 AHU units are selected, no other units may be connected to the outdoor unit, regardless of remaining ports or capacity availability.
When a 30k or 36k AHU is utilized with a Multi-Zone ODU, 500 grams (17.6 Oz) of additional refrigerant should be added to the system.
One-Way Cassette sizing is determined by capacity rotary swith on IDU.
Wi-Fi Kits and Wire Remote Controllers compatible with single or multi-zone as per IDU compatibility.

## Multi-Zone Combination Chart
Multizone Quick Reference Guide - R-454B Ductless Systems
Combinations valid for D5CM(H/R)A units.
| Two Zones |  | Three Zones |  |  | Four Zones |  |  |  |  | Five Zones |  |  |  |  | Six Zones
D5CMRAH18CAK | 6+6 | 6+18 | 6+6+6
| 6+9 | 9+9 | 6+6+9
| 6+12 | 9+12 | 6+9+9
12+12
D5CMHAH18CAK D5CMRAH24DAK | 6+6 | 9+12 | 6+6+6 | 6+9+18 | 12+12+12 | 6+6+6+6 | 9+9+9+9
| 6+9 | 9+18 | 6+6+9 | 6+12+12 |  | 6+6+6+9
| 6+12 | 9+24 | 6+6+12 | 6+12+18 |  | 6+6+6+12
| 6+18 | 12+12 | 6+6+18 | 9+9+9 |  | 6+6+9+9
| 6+24 | 12+18 | 6+6+24 | 9+9+12 |  | 6+6+9+12
| 9+9 | 12+24 | 6+9+9 | 9+9+18 |  | 6+9+9+9
| 18+18 |  | 6+9+12 | 9+12+12 |  | 6+9+9+12
37MGRAQ24DA3 | 6+6 | 9+12 | 6+6+6 | 6+9+18 | 12+12+12 | 6+6+6+6 | 9+9+9+9
| 6+9 | 9+18 | 6+6+9 | 6+12+12 |  | 6+6+6+9
| 6+12 | 9+24 | 6+6+12 | 6+12+18 |  | 6+6+6+12
| 6+18 | 12+12 | 6+6+18 | 9+9+9 |  | 6+6+9+9
| 6+24 | 12+18 | 6+6+24 | 9+9+12 |  | 6+6+9+12
| 9+9 | 12+24 | 6+9+9 | 9+9+18 |  | 6+9+9+9
| 18+18 |  | 6+9+12 | 9+12+12 |  | 6+9+9+12
D5CMHAH24DAK | 6+18 | 9+24 | 6+6+6 | 6+12+12 | 9+12+12 | 6+6+6+6 | 6+6+12+12 | 6+9+12+18 | 12+12+12+12
| 6+24 | 12+12 | 6+6+9 | 6+12+18 | 9+12+18 | 6+6+6+9 | 6+6+12+18 | 6+12+12+12
| 9+9 | 12+18 | 6+6+12 | 6+12+24 | 9+12+24 | 6+6+6+12 | 6+6+12+24 | 6+12+12+18
| 9+12 | 12+24 | 6+6+18 | 6+18+18 | 9+18+18 | 6+6+6+18 | 6+6+18+18 | 9+9+9+9
| 9+18 | 18+18 | 6+6+24 | 6+18+24 | 12+12+12 | 6+6+6+24 | 6+9+9+9 | 9+9+9+12
|  |  | 6+9+9 | 9+9+9 | 12+12+18 | 6+6+9+9 | 6+9+9+12 | 9+9+9+18
|  |  | 6+9+12 | 9+9+12 | 12+12+24 | 6+6+9+12 | 6+9+9+18 | 9+9+12+12
|  |  | 6+9+18 | 9+9+18 | 12+18+18 | 6+6+9+18 | 6+9+9+24 | 9+9+12+18
|  |  | 6+9+24 | 9+9+24 |  | 6+6+9+24 | 6+9+12+12 | 9+12+12+12
D5CMRAH30EAK D5CMRAH36EAK | 6+18 | 9+24 | 6+6+6 | 6+12+12 | 9+12+18 | 6+6+6+6 | 6+6+12+12 | 6+9+12+18 | 12+12+12+12 |  | 6+6+6+6+6 | 6+6+9+9+18
| 6+24 | 12+12 | 6+6+9 | 6+12+18 | 9+12+24 | 6+6+6+9 | 6+6+12+18 | 6+12+12+12 |  |  | 6+6+6+6+9 | 6+9+9+9+9
| 9+9 | 12+18 | 6+6+12 | 6+12+24 | 9+18+18 | 6+6+6+12 | 6+6+12+24 | 6+12+12+18 |  |  | 6+6+6+6+12 | 6+9+9+9+12
| 9+12 | 12+24 | 6+6+18 | 6+18+18 | 12+12+12 | 6+6+6+18 | 6+6+18+18 | 9+9+9+9 |  |  | 6+6+6+6+18 | 6+9+9+9+18
| 9+18 | 18+18 | 6+6+24 | 9+9+9 | 12+12+18 | 6+6+6+24 | 6+9+9+9 | 9+9+9+12 |  |  | 6+6+6+9+9 | 9+9+9+9+9
|  |  | 6+9+9 | 9+9+12 | 12+12+24 | 6+6+9+9 | 6+9+9+12 | 9+9+9+18 |  |  | 6+6+6+9+12 | 9+9+9+9+12
|  |  | 6+9+12 | 9+9+18 | 12+18+18 | 6+6+9+12 | 6+9+9+18 | 9+9+12+12 |  |  | 6+6+6+9+18
|  |  | 6+9+18 | 9+9+24 |  | 6+6+9+18 | 6+9+9+24 | 9+9+12+18 |  |  | 6+6+9+9+9
|  |  | 6+9+24 | 9+12+12 |  | 6+6+9+24 | 6+9+12+12 | 9+12+12+12 |  |  | 6+6+9+9+12
D5CMHAH30EAK D5CMHAH36EAK | 6+24 | 12+18 | 6+6+12 | 6+12+18 | 9+12+18 | 6+6+6+6 | 6+6+12+24 | 6+9+18+24 | 9+9+12+12 | 12+12+12+18 | 6+6+6+6+6 | 6+6+9+9+18
| 6+30 | 12+24 | 6+6+18 | 6+12+24 | 9+12+24 | 6+6+6+9 | 6+6+18+18 | 6+12+12+12 | 9+9+12+18 | 12+12+12+24 | 6+6+6+6+9 | 6+6+9+12+12
| 6+36 | 12+30 | 6+6+24 | 6+12+30 | 9+18+18 | 6+6+6+12 | 6+6+18+24 | 6+12+12+18 | 9+9+12+24 | 12+12+18+18 | 6+6+6+6+12 | 6+6+12+12+12
| 9+18 | 12+36 | 6+6+30 | 6+18+18 | 9+18+24 | 6+6+6+18 | 6+9+9+9 | 6+12+12+24 | 9+9+18+18 |  | 6+6+6+6+18 | 6+9+9+9+9
| 9+24 | 18+18 | 6+6+36 | 6+18+24 | 12+12+12 | 6+6+6+24 | 6+9+9+12 | 6+12+18+18 | 9+9+18+24 |  | 6+6+6+9+9 | 6+9+9+9+12
| 9+30 | 18+24 | 6+9+9 | 9+9+9 | 12+12+18 | 6+6+9+9 | 6+9+9+18 | 6+12+18+24 | 9+12+12+12 |  | 6+6+6+9+12 | 6+9+9+12+12
| 9+36 | 18+30 | 6+9+12 | 9+9+12 | 12+12+24 | 6+6+9+12 | 6+9+9+24 | 6+18+18+18 | 9+12+12+18 |  | 6+6+6+9+18 | 9+9+9+9+9
| 12+12 | 24+24 | 6+9+18 | 9+9+18 | 12+18+18 | 6+6+9+18 | 6+9+12+12 | 9+9+9+9 | 9+12+12+24 |  | 6+6+6+12+12 | 9+9+9+9+12
|  |  | 6+9+24 | 9+9+24 | 12+18+24 | 6+6+9+24 | 6+9+12+18 | 9+9+9+12 | 9+12+18+18 |  | 6+6+6+12+18
|  |  | 6+9+30 | 9+9+30 | 18+18+18 | 6+6+12+12 | 6+9+12+24 | 9+9+9+18 | 9+18+18+18 |  | 6+6+9+9+9
|  |  | 6+12+12 | 9+12+12 |  | 6+6+12+18 | 6+9+18+18 | 9+9+9+24 | 12+12+12+12 |  | 6+6+9+9+12
D5CMRAH48FAK | 6+24 | 12+24 | 6+6+18 | 6+18+24 | 9+18+18 | 6+6+6+6 | 6+9+9+12 | 9+9+9+12 | 12+12+12+12 |  | 6+6+6+6+6 | 6+6+9+9+9 | 6+9+9+9+12 | 9+9+9+9+12 |  | 6+6+6+6+6+6 | 6+6+6+12+12+12 | 6+9+9+12+12+12
| 6+30 | 12+30 | 6+6+24 | 6+18+30 | 9+18+24 | 6+6+6+9 | 6+9+9+18 | 9+9+9+18 | 12+12+12+18 |  | 6+6+6+6+9 | 6+6+9+9+12 | 6+9+9+9+18 | 9+9+9+9+18 |  | 6+6+6+6+6+9 | 6+6+6+12+12+18 | 9+9+9+9+9+9
| 6+36 | 12+36 | 6+6+30 | 6+18+36 | 9+18+30 | 6+6+6+18 | 6+9+9+24 | 9+9+9+24 | 12+12+12+24 |  | 6+6+6+6+12 | 6+6+9+9+18 | 6+9+9+9+24 | 9+9+9+9+24 |  | 6+6+6+6+6+12 | 6+6+9+9+9+9 | 9+9+9+9+9+12
| 9+18 | 18+18 | 6+6+36 | 9+9+9 | 9+18+36 | 6+6+6+24 | 6+9+12+12 | 9+9+12+12 | 12+12+18+18 |  | 6+6+6+6+18 | 6+6+9+9+24 | 6+9+9+12+12 | 9+9+9+12+12 |  | 6+6+6+6+6+18 | 6+6+9+9+9+12 | 9+9+9+9+9+18
| 9+24 | 18+24 | 6+9+12 | 9+9+12 | 12+12+12 | 6+6+9+9 | 6+9+12+18 | 9+9+12+18 |  |  | 6+6+6+6+24 | 6+6+9+12+12 | 6+9+9+12+18 | 9+9+9+12+18 |  | 6+6+6+6+9+9 | 6+6+9+9+9+18 | 9+9+9+9+12+12
| 9+30 | 18+30 | 6+9+18 | 9+9+18 | 12+12+18 | 6+6+9+12 | 6+9+12+24 | 9+9+12+24 |  |  | 6+6+6+9+9 | 6+6+9+12+18 | 6+9+9+12+24 | 9+9+9+12+24 |  | 6+6+6+6+9+12 | 6+6+9+9+12+12 | 9+9+9+12+12+12
| 9+36 | 18+36 | 6+9+24 | 9+9+24 | 12+12+24 | 6+6+9+18 | 6+9+18+18 | 9+9+18+18 |  |  | 6+6+6+9+12 | 6+6+9+12+24 | 6+9+9+18+18 | 9+9+9+18+18 |  | 6+6+6+6+9+18 | 6+6+9+9+12+18
| 12+12 | 24+24 | 6+9+30 | 9+9+30 | 12+12+30 | 6+6+9+24 | 6+9+18+24 | 9+9+18+24 |  |  | 6+6+6+9+18 | 6+6+9+18+18 | 6+9+12+12+12 | 9+9+12+12+12 |  | 6+6+6+6+12+12 | 6+6+9+12+12+12
| 12+18 | 24+30 | 6+9+36 | 9+9+36 | 12+12+36 | 6+6+12+12 | 6+12+12+12 | 9+12+12+12 |  |  | 6+6+6+9+24 | 6+6+9+18+24 | 6+9+12+12+18 | 9+9+12+12+18 |  | 6+6+6+6+12+18 | 6+6+9+12+12+18
| 24+36 |  | 6+12+18 | 9+12+12 | 12+18+18 | 6+6+12+18 | 6+12+12+18 | 9+12+12+18 |  |  | 6+6+6+12+12 | 6+6+12+12+12 | 6+9+12+12+24 | 9+12+12+12+12 |  | 6+6+6+9+9+9 | 6+9+9+9+9+9
|  |  | 6+12+24 | 9+12+18 | 12+18+24 | 6+6+12+24 | 6+12+12+24 | 9+12+12+24 |  |  | 6+6+6+12+18 | 6+6+12+12+18 | 6+9+12+18+18 | 9+12+12+12+18 |  | 6+6+6+9+9+12 | 6+9+9+9+9+12
|  |  | 6+12+30 | 9+12+24 | 12+18+30 | 6+6+18+18 | 6+12+18+18 | 9+12+18+18 |  |  | 6+6+6+12+24 | 6+6+12+12+24 | 6+12+12+12+12 | 12+12+12+12+12 |  | 6+6+6+9+9+18 | 6+9+9+9+9+18
|  |  | 6+12+36 | 9+12+30 | 18+18+18 | 6+6+18+24 | 6+12+18+24 | 9+12+18+24 |  |  | 6+6+6+18+18 | 6+6+12+18+18 | 6+12+12+12+18 |  |  | 6+6+6+9+12+12 | 6+9+9+9+12+12
|  |  | 6+18+18 | 9+12+36 |  | 6+9+9+9 | 9+9+9+9 | 9+18+18+18 |  |  | 6+6+6+18+24 | 6+9+9+9+9 | 9+9+9+9+9 |  |  | 6+6+6+9+12+18 | 6+9+9+9+12+18
D5CMHAH48FAK | 6+24 | 12+24 | 6+6+18 | 6+18+18 | 9+18+18 | 6+6+6+6 | 6+9+9+12 | 9+9+9+9 | 12+12+12+12 |  | 6+6+6+6+6 | 6+6+9+9+12 | 6+9+9+9+9 | 6+12+12+12+12 | 9+9+12+12+18 | 6+6+6+6+6+6 | 6+6+6+9+9+24 | 6+6+9+12+12+18 | 6+9+12+12+12+12 | 9+12+12+12+12+12
| 6+30 | 12+30 | 6+6+24 | 6+18+24 | 9+18+24 | 6+6+6+9 | 6+9+9+18 | 9+9+9+12 | 12+12+12+18 |  | 6+6+6+6+9 | 6+6+9+9+18 | 6+9+9+9+12 | 6+12+12+12+18 | 9+9+12+12+24 | 6+6+6+6+6+9 | 6+6+6+9+12+12 | 6+6+9+12+12+24 | 6+9+12+12+12+18 | 12+12+12+12+12+12
| 6+36 | 12+36 | 6+6+30 | 6+18+30 | 9+18+30 | 6+6+6+12 | 6+9+9+24 | 9+9+9+18 | 12+12+12+24 |  | 6+6+6+6+12 | 6+6+9+9+24 | 6+9+9+9+18 | 6+12+12+12+24 | 9+9+12+18+18 | 6+6+6+6+6+12 | 6+6+6+9+12+18 | 6+6+12+12+12+12 | 6+12+12+12+12+12
| 9+18 | 18+18 | 6+6+36 | 6+18+36 | 9+18+36 | 6+6+6+18 | 6+9+12+12 | 9+9+9+24 | 12+12+18+18 |  | 6+6+6+6+18 | 6+6+9+12+12 | 6+9+9+9+24 | 6+12+12+18+18 | 9+9+12+18+24 | 6+6+6+6+6+18 | 6+6+6+9+12+24 | 6+6+12+12+12+18 | 6+12+12+12+12+18
| 9+24 | 18+24 | 6+9+9 | 9+9+9 | 12+12+12 | 6+6+6+24 | 6+9+12+18 | 9+9+12+12 | 12+12+18+24 |  | 6+6+6+6+24 | 6+6+9+12+18 | 6+9+9+12+12 | 6+12+18+18+18 | 9+9+18+18+18 | 6+6+6+6+6+24 | 6+6+6+12+12+12 | 6+6+12+12+12+24 | 9+9+9+9+9+9
| 9+30 | 18+30 | 6+9+12 | 9+9+12 | 12+12+18 | 6+6+9+9 | 6+9+12+24 | 9+9+12+18 | 12+18+18+18 |  | 6+6+6+9+9 | 6+6+9+12+24 | 6+9+9+12+18 | 9+9+9+9+9 | 9+12+12+12+12 | 6+6+6+6+9+9 | 6+6+6+12+12+18 | 6+9+9+9+9+9 | 9+9+9+9+9+12
| 9+36 | 18+36 | 6+9+18 | 9+9+18 | 12+12+24 | 6+6+9+12 | 6+9+18+18 | 9+9+12+24 |  |  | 6+6+6+9+12 | 6+6+9+18+18 | 6+9+9+12+24 | 9+9+9+9+12 | 9+12+12+12+18 | 6+6+6+6+9+12 | 6+6+6+12+12+24 | 6+9+9+9+9+12 | 9+9+9+9+9+18
| 12+12 | 24+24 | 6+9+24 | 9+9+24 | 12+12+30 | 6+6+9+18 | 6+9+18+24 | 9+9+18+18 |  |  | 6+6+6+9+18 | 6+6+9+18+24 | 6+9+9+18+18 | 9+9+9+9+18 | 9+12+12+12+24 | 6+6+6+6+9+18 | 6+6+9+9+9+9 | 6+9+9+9+9+18 | 9+9+9+9+9+24
| 12+18 | 24+30 | 6+9+30 | 9+9+30 | 12+12+36 | 6+6+9+24 | 6+12+12+12 | 9+9+18+24 |  |  | 6+6+6+9+24 | 6+6+12+12+12 | 6+9+9+18+24 | 9+9+9+9+24 | 9+12+12+18+18 | 6+6+6+6+9+24 | 6+6+9+9+9+12 | 6+9+9+9+9+24 | 9+9+9+9+12+12
| 24+36 |  | 6+9+36 | 9+9+36 | 12+18+18 | 6+6+12+12 | 6+12+12+18 | 9+12+12+12 |  |  | 6+6+6+12+12 | 6+6+12+12+18 | 6+9+12+12+12 | 9+9+9+12+12 | 12+12+12+12+12 | 6+6+6+6+12+12 | 6+6+9+9+9+18 | 6+9+9+9+12+12 | 9+9+9+9+12+18
|  |  | 6+12+12 | 9+12+12 | 12+18+24 | 6+6+12+18 | 6+12+12+24 | 9+12+12+18 |  |  | 6+6+6+12+18 | 6+6+12+12+24 | 6+9+12+12+18 | 9+9+9+12+18 | 12+12+12+12+18 | 6+6+6+6+12+18 | 6+6+9+9+9+24 | 6+9+9+9+12+18 | 9+9+9+9+12+24
|  |  | 6+12+18 | 9+12+18 | 12+18+30 | 6+6+12+24 | 6+12+18+18 | 9+12+12+24 |  |  | 6+6+6+12+24 | 6+6+12+18+18 | 6+9+12+12+24 | 9+9+9+12+24 | 12+12+12+12+24 | 6+6+6+6+12+24 | 6+6+9+9+12+12 | 6+9+9+9+12+24 | 9+9+9+12+12+12
|  |  | 6+12+24 | 9+12+24 | 12+18+36 | 6+6+18+18 | 6+12+18+24 | 9+12+18+18 |  |  | 6+6+6+18+18 | 6+6+12+18+24 | 6+9+12+18+18 | 9+9+9+18+18 | 12+12+12+18+18 | 6+6+6+9+9+9 | 6+6+9+9+12+18 | 6+9+9+12+12+12 | 9+9+9+12+12+18
|  |  | 6+12+30 | 9+12+30 | 18+18+18 | 6+6+18+24 | 6+18+18+18 | 9+12+18+24 |  |  | 6+6+6+18+24 | 6+6+18+18+18 | 6+9+12+18+24 | 9+9+9+18+24 |  | 6+6+6+9+9+12 | 6+6+9+9+12+24 | 6+9+9+12+12+18 | 9+9+12+12+12+12
|  |  | 6+12+36 | 9+12+36 |  | 6+9+9+9 | 6+18+18+24 | 9+18+18+18 |  |  | 6+6+9+9+9 | 6+6+18+18+24 | 6+9+18+18+18 | 9+9+12+12+12 |  | 6+6+6+9+9+18 | 6+6+9+12+12+12 | 6+9+9+12+12+24 | 9+9+12+12+12+18
D5CMRAH55FAK | 6+24 | 12+24 | 6+6+18 | 6+18+18 | 9+18+18 | 6+6+6+6 | 6+9+9+12 | 9+9+9+9 | 12+12+12+12 |  | 6+6+6+6+6 | 6+6+9+9+12 | 6+9+9+9+9 | 6+12+12+12+12 | 9+9+12+12+18 | 6+6+6+6+6+6 | 6+6+6+9+9+24 | 6+6+9+12+12+18 | 6+9+9+12+12+24 | 9+9+12+12+12+18
| 6+30 | 12+30 | 6+6+24 | 6+18+24 | 9+18+24 | 6+6+6+9 | 6+9+9+18 | 9+9+9+12 | 12+12+12+18 |  | 6+6+6+6+9 | 6+6+9+9+18 | 6+9+9+9+12 | 6+12+12+12+18 | 9+9+12+12+24 | 6+6+6+6+6+9 | 6+6+6+9+12+12 | 6+6+9+12+12+24 | 6+9+12+12+12+12 | 9+12+12+12+12+12
| 6+36 | 12+36 | 6+6+30 | 6+18+30 | 9+18+30 | 6+6+6+12 | 6+9+9+24 | 9+9+9+18 | 12+12+12+24 |  | 6+6+6+6+12 | 6+6+9+9+24 | 6+9+9+9+18 | 6+12+12+12+24 | 9+9+12+18+18 | 6+6+6+6+6+12 | 6+6+6+9+12+18 | 6+6+12+12+12+12 | 6+9+12+12+12+18 | 12+12+12+12+12+12
| 9+18 | 18+18 | 6+6+36 | 6+18+36 | 9+18+36 | 6+6+6+18 | 6+9+12+12 | 9+9+9+24 | 12+12+18+18 |  | 6+6+6+6+18 | 6+6+9+12+12 | 6+9+9+9+24 | 6+12+12+18+18 | 9+9+12+18+24 | 6+6+6+6+6+18 | 6+6+6+9+12+24 | 6+6+12+12+12+18 | 6+12+12+12+12+12
| 9+24 | 18+24 | 6+9+9 | 9+9+9 | 12+12+12 | 6+6+6+24 | 6+9+12+18 | 9+9+12+12 | 12+12+18+24 |  | 6+6+6+6+24 | 6+6+9+12+18 | 6+9+9+12+12 | 6+12+18+18+18 | 9+9+18+18+18 | 6+6+6+6+6+24 | 6+6+6+12+12+12 | 6+6+12+12+12+24 | 6+12+12+12+12+18
| 9+30 | 18+30 | 6+9+12 | 9+9+12 | 12+12+18 | 6+6+9+9 | 6+9+12+24 | 9+9+12+18 | 12+18+18+18 |  | 6+6+6+9+9 | 6+6+9+12+24 | 6+9+9+12+18 | 9+9+9+9+9 | 9+12+12+12+12 | 6+6+6+6+9+9 | 6+6+6+12+12+18 | 6+9+9+9+9+9 | 9+9+9+9+9+9
| 9+36 | 18+36 | 6+9+18 | 9+9+18 | 12+12+24 | 6+6+9+12 | 6+9+18+18 | 9+9+12+24 |  |  | 6+6+6+9+12 | 6+6+9+18+18 | 6+9+9+12+24 | 9+9+9+9+12 | 9+12+12+12+18 | 6+6+6+6+9+12 | 6+6+6+12+12+24 | 6+9+9+9+9+12 | 9+9+9+9+9+12
| 12+12 | 24+24 | 6+9+24 | 9+9+24 | 12+12+30 | 6+6+9+18 | 6+9+18+24 | 9+9+18+18 |  |  | 6+6+6+9+18 | 6+6+9+18+24 | 6+9+9+18+18 | 9+9+9+9+18 | 9+12+12+12+24 | 6+6+6+6+9+18 | 6+6+9+9+9+9 | 6+9+9+9+9+18 | 9+9+9+9+9+18
| 12+18 | 24+30 | 6+9+30 | 9+9+30 | 12+12+36 | 6+6+9+24 | 6+12+12+12 | 9+9+18+24 |  |  | 6+6+6+9+24 | 6+6+12+12+12 | 6+9+9+18+24 | 9+9+9+9+24 | 9+12+12+18+18 | 6+6+6+6+9+24 | 6+6+9+9+9+12 | 6+9+9+9+9+24 | 9+9+9+9+9+24
| 24+36 |  | 6+9+36 | 9+9+36 | 12+18+18 | 6+6+12+12 | 6+12+12+18 | 9+12+12+12 |  |  | 6+6+6+12+12 | 6+6+12+12+18 | 6+9+12+12+12 | 9+9+9+12+12 | 12+12+12+12+12 | 6+6+6+6+12+12 | 6+6+9+9+9+18 | 6+9+9+9+12+12 | 9+9+9+9+12+12
|  |  | 6+12+12 | 9+12+12 | 12+18+24 | 6+6+12+18 | 6+12+12+24 | 9+12+12+18 |  |  | 6+6+6+12+18 | 6+6+12+12+24 | 6+9+12+12+18 | 9+9+9+12+18 | 12+12+12+12+18 | 6+6+6+6+12+18 | 6+6+9+9+9+24 | 6+9+9+9+12+18 | 9+9+9+9+12+18
|  |  | 6+12+18 | 9+12+18 | 12+18+30 | 6+6+12+24 | 6+12+18+18 | 9+12+12+24 |  |  | 6+6+6+12+24 | 6+6+12+18+18 | 6+9+12+12+24 | 9+9+9+12+24 | 12+12+12+12+24 | 6+6+6+6+12+24 | 6+6+9+9+12+12 | 6+9+9+9+12+24 | 9+9+9+9+12+24
|  |  | 6+12+24 | 9+12+24 | 12+18+36 | 6+6+18+18 | 6+12+18+24 | 9+12+18+18 |  |  | 6+6+6+18+18 | 6+6+12+18+24 | 6+9+12+18+18 | 9+9+9+18+18 | 12+12+12+18+18 | 6+6+6+9+9+9 | 6+6+9+9+12+18 | 6+9+9+9+18+18 | 9+9+9+12+12+12
|  |  | 6+12+30 | 9+12+30 | 18+18+18 | 6+6+18+24 | 6+18+18+18 | 9+12+18+24 |  |  | 6+6+6+18+24 | 6+6+18+18+18 | 6+9+12+18+24 | 9+9+9+18+24 |  | 6+6+6+9+9+12 | 6+6+9+9+12+24 | 6+9+9+12+12+12 | 9+9+9+12+12+18
|  |  | 6+12+36 | 9+12+36 |  | 6+9+9+9 | 6+18+18+24 | 9+18+18+18 |  |  | 6+6+9+9+9 | 6+6+18+18+24 | 6+9+18+18+18 | 9+9+12+12+12 |  | 6+6+6+9+9+18 | 6+6+9+12+12+12 | 6+9+9+12+12+18 | 9+9+12+12+12+12
D5CMHAH55FAK | 6+24 | 12+24 | 6+6+18 | 6+18+18 | 9+18+18 | 6+6+6+6 | 6+9+9+12 | 9+9+9+9 | 12+12+12+12 |  | 6+6+6+6+6 | 6+6+9+9+12 | 6+9+9+9+9 | 6+12+12+12+12 | 9+9+12+12+18 | 6+6+6+6+6+6 | 6+6+6+9+9+24 | 6+6+9+12+12+18 | 6+9+12+12+12+12 | 9+12+12+12+12+12
| 6+30 | 12+30 | 6+6+24 | 6+18+24 | 9+18+24 | 6+6+6+9 | 6+9+9+18 | 9+9+9+12 | 12+12+12+18 |  | 6+6+6+6+9 | 6+6+9+9+18 | 6+9+9+9+12 | 6+12+12+12+18 | 9+9+12+12+24 | 6+6+6+6+6+9 | 6+6+6+9+12+12 | 6+6+9+12+12+24 | 6+9+12+12+12+18 | 12+12+12+12+12+12
| 6+36 | 12+36 | 6+6+30 | 6+18+30 | 9+18+30 | 6+6+6+12 | 6+9+9+24 | 9+9+9+18 | 12+12+12+24 |  | 6+6+6+6+12 | 6+6+9+9+24 | 6+9+9+9+18 | 6+12+12+12+24 | 9+9+12+18+18 | 6+6+6+6+6+12 | 6+6+6+9+12+18 | 6+6+12+12+12+12 | 6+12+12+12+12+12
| 9+18 | 18+18 | 6+6+36 | 6+18+36 | 9+18+36 | 6+6+6+18 | 6+9+12+12 | 9+9+9+24 | 12+12+18+18 |  | 6+6+6+6+18 | 6+6+9+12+12 | 6+9+9+9+24 | 6+12+12+18+18 | 9+9+12+18+24 | 6+6+6+6+6+18 | 6+6+6+9+12+24 | 6+6+12+12+12+18 | 6+12+12+12+12+18
| 9+24 | 18+24 | 6+9+9 | 9+9+9 | 12+12+12 | 6+6+6+24 | 6+9+12+18 | 9+9+12+12 | 12+12+18+24 |  | 6+6+6+6+24 | 6+6+9+12+18 | 6+9+9+12+12 | 6+12+18+18+18 | 9+9+18+18+18 | 6+6+6+6+6+24 | 6+6+6+12+12+12 | 6+6+12+12+12+24 | 9+9+9+9+9+9
| 9+30 | 18+30 | 6+9+12 | 9+9+12 | 12+12+18 | 6+6+9+9 | 6+9+12+24 | 9+9+12+18 | 12+18+18+18 |  | 6+6+6+9+9 | 6+6+9+12+24 | 6+9+9+12+18 | 9+9+9+9+9 | 9+12+12+12+12 | 6+6+6+6+9+9 | 6+6+6+12+12+18 | 6+9+9+9+9+9 | 9+9+9+9+9+12
| 9+36 | 18+36 | 6+9+18 | 9+9+18 | 12+12+24 | 6+6+9+12 | 6+9+18+18 | 9+9+12+24 |  |  | 6+6+6+9+12 | 6+6+9+18+18 | 6+9+9+12+24 | 9+9+9+9+12 | 9+12+12+12+18 | 6+6+6+6+9+12 | 6+6+6+12+12+24 | 6+9+9+9+9+12 | 9+9+9+9+9+18
| 12+12 | 24+24 | 6+9+24 | 9+9+24 | 12+12+30 | 6+6+9+18 | 6+9+18+24 | 9+9+18+18 |  |  | 6+6+6+9+18 | 6+6+9+18+24 | 6+9+9+18+18 | 9+9+9+9+18 | 9+12+12+12+24 | 6+6+6+6+9+18 | 6+6+9+9+9+9 | 6+9+9+9+9+18 | 9+9+9+9+9+24
| 12+18 | 24+30 | 6+9+30 | 9+9+30 | 12+12+36 | 6+6+9+24 | 6+12+12+12 | 9+9+18+24 |  |  | 6+6+6+9+24 | 6+6+12+12+12 | 6+9+9+18+24 | 9+9+9+9+24 | 9+12+12+18+18 | 6+6+6+6+9+24 | 6+6+9+9+9+12 | 6+9+9+9+9+24 | 9+9+9+9+12+12
| 24+36 |  | 6+9+36 | 9+9+36 | 12+18+18 | 6+6+12+12 | 6+12+12+18 | 9+12+12+12 |  |  | 6+6+6+12+12 | 6+6+12+12+18 | 6+9+12+12+12 | 9+9+9+12+12 | 12+12+12+12+12 | 6+6+6+6+12+12 | 6+6+9+9+9+18 | 6+9+9+9+12+12 | 9+9+9+9+12+18
|  |  | 6+12+12 | 9+12+12 | 12+18+24 | 6+6+12+18 | 6+12+12+24 | 9+12+12+18 |  |  | 6+6+6+12+18 | 6+6+12+12+24 | 6+9+12+12+18 | 9+9+9+12+18 | 12+12+12+12+18 | 6+6+6+6+12+18 | 6+6+9+9+9+24 | 6+9+9+9+12+18 | 9+9+9+9+12+24
|  |  | 6+12+18 | 9+12+18 | 12+18+30 | 6+6+12+24 | 6+12+18+18 | 9+12+12+24 |  |  | 6+6+6+12+24 | 6+6+12+18+18 | 6+9+12+12+24 | 9+9+9+12+24 | 12+12+12+12+24 | 6+6+6+6+12+24 | 6+6+9+9+12+12 | 6+9+9+9+12+24 | 9+9+9+12+12+12
|  |  | 6+12+24 | 9+12+24 | 12+18+36 | 6+6+18+18 | 6+12+18+24 | 9+12+18+18 |  |  | 6+6+6+18+18 | 6+6+12+18+24 | 6+9+12+18+18 | 9+9+9+18+18 | 12+12+12+18+18 | 6+6+6+9+9+9 | 6+6+9+9+12+18 | 6+9+9+12+12+12 | 9+9+9+12+12+18
|  |  | 6+12+30 | 9+12+30 | 18+18+18 | 6+6+18+24 | 6+18+18+18 | 9+12+18+24 |  |  | 6+6+6+18+24 | 6+6+18+18+18 | 6+9+12+18+24 | 9+9+9+18+24 |  | 6+6+6+9+9+12 | 6+6+9+9+12+24 | 6+9+9+12+12+18 | 9+9+12+12+12+12
|  |  | 6+12+36 | 9+12+36 |  | 6+9+9+9 | 6+18+18+24 | 9+18+18+18 |  |  | 6+6+9+9+9 | 6+6+18+18+24 | 6+9+18+18+18 | 9+9+12+12+12 |  | 6+6+6+9+9+18 | 6+6+9+12+12+12 | 6+9+9+12+12+24 | 9+9+12+12+12+18

## DIM ELEC
A/C CONDENSERS
Item | DIMENSIONS LxWxH (SEE SPECS FOR EXACT DIMENSIONS) | PAD SIZE | MCA | MAX FUSE | LINESET
IC5A1V24AKAWA | 24X24X35 | DIVUC24243CA | 19.4 | 25 | 3/8 X 3/4
IC5A1V36AKAWA | 32X32X35 | DIVUC32323CA | 22.9 | 25 | 3/8 X 3/4
IC5A1V48AKAWA | 32X32X43 | DIVUC32323CA | 30.6 | 40 | 3/8 X 7/8
IC5A1V60AKAWA | 35X35X44 | DIVUC36363CA | 36.9 | 50 | 3/8 X 7/8
IC5A8T24AKAWA | 32X32X35 | DIVUC32323CA | 15.5 | 20 | 3/8 X 3/4
IC5A8T36AKAWA | 35X35X37 | DIVUC36363CA | 20.9 | 35 | 3/8 X 7/8
IC5A8T48AKAWA | 35X35X37 | DIVUC36363CA | 25.5 | 40 | 3/8 X 7/8
IC5A8T60AKAWA | 35X35X41 | DIVUC36363CA | 30.5 | 50 | 3/8 X 7/8
IC5A6S24AKAWA | 32X32X36 | DIVUC32323CA | 13.6 | 20 | 3/8 X 3/4
IC5A6S30AKAWA | 32X32X39 | DIVUC32323CA | 16.5 | 25 | 3/8 X 3/4
IC5A6S36AKAWA | 32X32X33 | DIVUC32323CA | 17.6 | 30 | 3/8 X 7/8
IC5A6S42AKAWA | 32X32X39 | DIVUC32323CA | 22.7 | 40 | 3/8 X 7/8
IC5A6S48AKAWA | 32X32X33 | DIVUC32323CA | 29.1 | 50 | 3/8 X 7/8
IC5A6S60AKAWA | 32X32X39 | DIVUC32323CA | 31.1 | 50 | 3/8 X 7/8
IN5A8T24AKAWA | 32X32X36 | DIVUC32323CA | 15.5 | 20 | 3/8 X 3/4
IN5A8T36AKAWA | 35X35X36 | DIVUC36363CA | 20.9 | 35 | 3/8 X 7/8
IN5A8T48AKAWA | 35X35X36 | DIVUC36363CA | 25.5 | 40 | 3/8 X 7/8
IN5A8T60AKAWA | 35X35X39 | DIVUC36363CA | 30.5 | 50 | 3/8 X 7/8
IN5A5S18AKAWA | 32X32X32 | DIVUC32323CA | 10.9 | 15 | 3/8 X 5/8
IN5A5S24AKAWA | 32X32X36 | DIVUC32323CA | 13.6 | 20 | 3/8 X 3/4
IN5A5S30AKAWA | 32X32X39 | DIVUC32323CA | 16.5 | 25 | 3/8 X 3/4
IN5A5S36AKAWA | 32X32X32 | DIVUC32323CA | 17.6 | 30 | 3/8 X 7/8
IN5A5S42AKAWA | 32X32X39 | DIVUC32323CA | 22.7 | 40 | 3/8 X 7/8
IN5A5S48AKAWA | 32X32X32 | DIVUC32323CA | 29.1 | 50 | 3/8 X 7/8
IN5A5S60AKAWA | 32X32X39 | DIVUC32323CA | 31.1 | 50 | 3/8 X 7/8
IN5A4S18AKANA | 24X24X29 | DIVUC24243CA | 10.8 | 15 | 3/8 X 3/4
IN5A4S24AKANA | 26X26X32 | DIVUC30303CA | 12.1 | 20 | 3/8 X 3/4
IN5A4S30AKANA | 32X32X32 | DIVUC32323CA | 16.2 | 25 | 3/8 X 3/4
IN5A4S36AKANA | 32X32X39 | DIVUC32323CA | 17.5 | 30 | 3/8 X 7/8
IN5A4S42AKANA | 32X32X39 | DIVUC32323CA | 19.8 | 30 | 3/8 X 7/8
IN5A4S48AKANA | 32X32X29 | DIVUC32323CA | 22.7 | 40 | 3/8 X 7/8
IN5A4S60AKANA | 32X32X32 | DIVUC32323CA | 31.1 | 50 | 3/8 X 7/8
90+% GAS FURNACES |  |  | 80% GAS FURNACES
Item | DIMENSIONS LxWxH (SEE SPECS FOR EXACT DIMENSIONS) |  | Item | DIMENSIONS LxWxH (SEE SPECS FOR EXACT DIMENSIONS)
IG97CMN0601714B | 29.5X17.5X35 |  | IG80CTL0451712B | 29X17.5X33.25
IG97CMN0602120B | 29.5X21X35 |  | IG80CTL0701412B | 29X14.5X33.25
IG97CMN0801714B | 29.5X17.5X35 |  | IG80CTL0701716B | 29X17.5X33.25
IG97CMN0802120B | 29.5X21X35 |  | IG80CTL0702120B | 29X21X33.5
IG97CMN1002122B | 29.5X21X35 |  | IG80CTL0901716B | 29X17.5X33.25
IG97CMN1202422B | 29.5X24.5X35 |  | IG80CTL0902120B | 29X21X33.5
|  |  | IG80CTL1102120B | 29X21X33.5
IG96CTN0601714B | 29.5X17.5X35 |  | IG80CTL1352422B | 29X21X33.5
IG96CTN0801714B | 29.5X17.5X35
IG96CTN0802120B | 29.5X21X35 |  | IN80MSN0451412A | 29X14.5X33.25
IG96CTN1002122B | 29.5X21X35 |  | IN80MSN0701412A | 29X14.5X33.25
IG96CTN1202422B | 29.5X24.5X35 |  | IN80MSN0701712A | 29X17.5X33.25
|  |  | IN80MSN0701716A | 29X17.5X33.25
IG96VTN0401410B | 29.5X14.5X35 |  | IN80MSN0702116A | 29X21X33.5
IG96VTN0401712B | 29.5X17.5X35 |  | IN80MSN0901714A | 29X17.5X33.25
IG96VTN0601412B | 29.5X14.5X35 |  | IN80MSN0902116A | 29X21X33.5
IG96VTN0601716B | 29.5X17.5X35 |  | IN80MSN0902120A | 29X21X33.5
IG96VTN0801716B | 29.5X17.5X35 |  | IN80MSN0902420A | 29X24.4X33.5
IG96VTN0802120B | 29.5X21X35 |  | IN80MSN1102120A | 29X21X33.5
IG96VTN1002120B | 29.5X21X35 |  | IN80MSN1102420A | 29X24.4X33.5
IG96VTN1002122B | 29.5X21X35 |  | IN80MSN1352420A | 29X21X33.5
IG96VTN1202422B | 29.5X24.5X35 |  | IN80MSN1552420A | 29X24.4X33.5
IN96MSN0401410A | 29.5X14.5X35
IN96MSN0401712A | 29.5X17.5X35
IN96MSN0601412A | 29.5X14.5X35
IN96MSN0601716A | 29.5X17.5X35
IN96MSN0801716A | 29.5X17.5X35
IN96MSN0802120A | 29.5X21X35
IN96MSN1002120A | 29.5X21X35
IN96MSN1202422A | 29.5X24.5X35
IN96MSN1402422A | 29.5X24.5X35
EVAP COILS |  |  | FAN COILS
Item | DIMENSIONS LxWxH (SEE SPECS FOR EXACT DIMENSIONS) |  | Item | DIMENSIONS LxWxH (SEE SPECS FOR EXACT DIMENSIONS)
IEVD5X24M14A | 21X14X15 |  | IFCMA5X24L0BA | 22X17.5X43
IEVD5X24M17A | 21X17.5X20 |  | IFCMA5B36L0CA | 22X21X54
IEVD5X30M14A | 21X14X17 |  | IFCMA5B48L0CA | 22X21X54
IEVD5X30M17A | 21X17.5X20 |  | IFCMA5B60L0DA | 22X24.5X59
IEVD5X36M17A | 21X17.5X20
IEVD5X36M21A | 21X21X19 |  | IFTMA5X24L0BA | 22X17.5X43
IEVD5X37M21A | 21X21X22 |  | IFTMA5B36L0CA | 22X21X54
IEVD5X38M17A | 21X17.5X30 |  | IFTMA5B48L0CA | 22X21X54
IEVD5X42M17A | 21X17.5X19 |  | IFTMA5B60L0DA | 22X24.5X59
IEVD5X42M21A | 21X21X27
IEVD5X42M24A | 21X24.5X27 |  | IFHMA5X24L0BA | 22X17.5X50
IEVD5X48M21A | 21X21X22 |  | IFHMA5X30L0BA | 22X17.5X50
IEVD5X48M24A | 21X24.5X22 |  | IFHMA5X36L0BA | 22X17.5X50
IEVD5X49M24A | 21X24.5X27 |  | IFHMA5B42L0CA | 22X21X54
IEVD5X61M21A | 21X21X35 |  | IFHMA5B48L0CA | 22X21X54
IEVD5X60M24A | 21X24.5X27 |  | IFHMA5B60L0DA | 22X24.5X59
IEVD5X61M24A | 21X24.5X35
IEVM5X24M14A | 21X14X15
IEVM5X24M17A | 21X17.5X15
IEVM5X30M17A | 21X17.5X20
IEVM5X31M17A | 21X17.5X26
IEVM5X36M17A | 21X17.5X20
IEVM5X42M21A | 21X21XX19
IEVM5X43M21A | 21X21X22
IEVM5X48M21A | 21X21X22
IEVM5X49M21A | 21X21X30
IEVM5X60M21A | 21X21X30
IEVM5X60M24A | 21X24.5X30
IEVM5X61M24A | 21X24.5X35
IEAM5X24M14A | 21X14X26
IEAM5X24M17A | 21X17.5X26
IEAM5X30M14A | 21X14X26
IEAM5X30M17A | 21X17.5X26
IEAM5X36M17A | 21X17.5X30
IEAM5X37M17A | 21X17.5X26
IEAM5X42M21A | 21X21X30
IEAM5X48M21A | 21X21X30
IEAM5X60M24A | 21X24.5X35
IEAM5X61M24A | 21X21X35
H/P CONDENSERS
Item | DIMENSIONS LxWxH (SEE SPECS FOR EXACT DIMENSIONS) | PAD SIZE | MCA | MAX FUSE | LINESET
IC5H3V36AKAAA | 35X35X48 | DIVUC36363CA | 23.8 | 25 | 3/8 X 7/8
IC5H3V48AKAAA | 35X35X48 | DIVUC36363CA | 31 | 40 | 3/8 X 7/8
IC5H3V60AKAAA | 35X35X48 | DIVUC36363CA | 37.5 | 40 | 3/8 X 7/8
IC5H0V24AKAAA | 24x24x36 | DIVUC24243CA | 19.4 | 25 | 3/8 X 3/4
IC5H0V36AKAAA | 32x32x36 | DIVUC32323CA | 22.9 | 30 | 3/8 X 3/4
IC5H0V48AKAAA | 35x35x44 | DIVUC36363CA | 30.6 | 40 | 3/8 X 7/8
IC5H0V60AKAAA | 35x35x44 | DIVUC36363CA | 36.9 | 50 | 3/8 X 7/8
IC5H8T24AKAAA | 35X35X37 | DIVUC36363CA | 22.1 | 25 | 3/8 X 3/4
IC5H8T36AKAAA | 35X35X41 | DIVUC36363CA | 25.7 | 40 | 3/8 X 7/8
IC5H8T48AKAAA | 35X35X48 | DIVUC36363CA | 31.4 | 50 | 3/8 X 7/8
IC5H8T60AKAAA | 35X35X48 | DIVUC36363CA | 34.9 | 60 | 3/8 X 7/8
IC5H6S24AKAAA | 32X32X35 | DIVUC32323CA | 13.5 | 20 | 3/8 X 5/8
IC5H6S30AKAAA | 32X32X39 | DIVUC32323CA | 16.3 | 25 | 3/8 X 3/4
IC5H6S36AKAAA | 32X32X32 | DIVUC32323CA | 19.2 | 30 | 3/8 X 7/8
IC5H6S42AKAAA | 32X32X32 | DIVUC32323CA | 24.9 | 40 | 3/8 X 7/8
IC5H6S48AKAAA | 32X32X39 | DIVUC32323CA | 29.4 | 50 | 3/8 X 7/8
IC5H6S60AKAAA | 35X35X37 | DIVUC36363CA | 31.1 | 50 | 3/8 X 7/8
IN5H8T24AKAAA | 35X35X36 | DIVUC36363CA | 22.1 | 25 | 3/8 X 3/4
IN5H8T36AKAAA | 35X35X39 | DIVUC36363CA | 25.7 | 40 | 3/8 X 7/8
IN5H8T48AKAAA | 35X35X46 | DIVUC36363CA | 31.4 | 50 | 3/8 X 7/8
IN5H8T60AKAAA | 35X35X46 | DIVUC36363CA | 34.9 | 60 | 3/8 X 7/8
IN5H5S18AKAAA | DIVUC32323CA | 32X32X32 | 10.9 | 15 | 3/8 X 5/8
IN5H5S24AKAAA | DIVUC32323CA | 32X32X36 | 13.5 | 20 | 3/8 X 5/8
IN5H5S30AKAAA | DIVUC32323CA | 32X32X39 | 16.3 | 25 | 3/8 X 3/4
IN5H5S36AKAAA | DIVUC32323CA | 32X32X32 | 19.2 | 30 | 3/8 X 3/4
IN5H5S42AKAAA | DIVUC32323CA | 32X32X32 | 24.9 | 40 | 3/8 X 7/8
IN5H5S48AKAAA | DIVUC32323CA | 32X32X39 | 29.4 | 50 | 3/8 X 7/8
IN5H5S60AKAAA | DIVUC36363CA | 35X35X36 | 31.1 | 50 | 3/8 X 7/8
CROSSOVER H/P CONDENSERS
Item | DIMENSIONS LxWxH (SEE SPECS FOR EXACT DIMENSIONS) | PAD SIZE | MCA | MAX FUSE | LINESET
ID5CUHAH24AAK | 35X13.5X26 | DIVUC18383CA | 19 | 20 | 3/8 X 3/4
ID5CUHAH30AAK | 37.25X16X32 | DIVUC18383CA | 29.5 | 30 | 3/8 X 3/4
ID5CUHAH36AAK | 38.5X16X38.5 | DIVUC18383CA | 29 | 30 | 3/8 X 3/4
ID5CUHAH48AAK | 38.5X16X38.5 | DIVUC18383CA | 38 | 40 | 3/8 X 3/4
ID5CUHAH60AAK | 37.5X16.5X52.5 | DIVUC18383CA | 40 | 40 | 3/8 X 3/4
ID5CURAH24AAK | 35x13.5x26 | DIVUC18383CA | 19 | 20 | 3/8 X 3/4
ID5CURAH30AAK | 37.25x16x32 | DIVUC18383CA | 22.5 | 25 | 3/8 X 3/4
ID5CURAH36AAK | 37.25x16x32 | DIVUC18383CA | 24 | 30 | 3/8 X 3/4
ID5CURAH48AAK | 38.5x16x38.5 | DIVUC18383CA | 36 | 40 | 3/8 X 3/4
ID5CURAH60AAK | 38.5x16x38.5 | DIVUC18383CA | 39 | 40 | 3/8 X 3/4
CROSSOVER FAN COILS
Item | DIMENSIONS LxWxH (SEE SPECS FOR EXACT DIMENSIONS)
ID5FUHAH24XAK | 14.5X21.5X48
ID5FUHAH36XAK | 17.5X21.5X52
ID5FUHAH60XAK | 21.5X21.5X54
ID5FUAAH24XAK | 21X17.5X45
ID5FUAAH30XAK | 21X21X49
ID5FUAAH36XAK | 21X21X49
ID5FUAAH48XAK | 21X24.5X53
ID5FUAAH60XAK | 21X24.5X53

## Paste Bid Here
R454B | B372944