## GAS FURNACES
GAS FURNACES
2026-01-26
| Part Number | Ferguson PN | Price | PRODUCT CATEGORY
INFINITY 98% FURNACE WITH GREENSPEED INTELLIGENCE | 59MN7C060C17--14 | C59MN7C060C1714 | #N/A | BEST
| 59MN7C060C21--20 | C59MN7C060C2120 | #N/A
| 59MN7C080C17--14 | C59MN7C080C1714 | #N/A
| 59MN7C080C21--20 | C59MN7C080C2120 | #N/A
| 59MN7C100C21--22 | C59MN7C100C2122 | #N/A
| 59MN7C120C24--22 | C59MN7C120C2422 | #N/A
INFINITY 97% 2-STAGE VARIABLE SPEED FURNACE | 59TN7A060C1716 | C59TN7A060C1716 | #N/A
| 59TN7A080C1716 | C59TN7A080C1716 | #N/A
| 59TN7A080C2120 | C59TN7A080C2120 | #N/A
| 59TN7A100C2122 | C59TN7A100C2122 | #N/A
| 59TN7A120C2422 | C59TN7A120C2422 | #N/A
INFINITY 96% 2-STAGE VARIABLE SPEED FURNACE (SELL THESE FIRST) | 59TN6C040C14--10 | C59TN6C040C1410 | #N/A
| 59TN6C060C17--14 | C59TN6C060C1714 | #N/A
| 59TN6C080C17--14 | C59TN6C080C1714 | #N/A
| 59TN6C080C21--20 | C59TN6C080C2120 | #N/A
| 59TN6C100C21--22 | C59TN6C100C2122 | #N/A
| 59TN6C120C24--22 | C59TN6C120C2422 | #N/A
PERFORMANCE 97% 2-STAGE VARIABLE SPEED FURNACE | 59TP7A060V1716 | C59TP7A060V1716 | #N/A | BETTER
| 59TP7A080V1716 | C59TP7A080V1716 | #N/A
| 59TP7A080V2120 | C59TP7A080V2120 | #N/A
| 59TP7A100V2120 | C59TP7A100V2120 | #N/A
| 59TP7A100V2122 | C59TP7A100V2122 | #N/A
| 59TP7A120V2422 | C59TP7A120V2422 | #N/A
PERFORMANCE 96% 2-STAGE VARIABLE SPEED FURNACE (SELL THESE FIRST) | 59TP6C040V14--10 | C59TP6C040V1410 | #N/A
| 59TP6C040V17--12 | C59TP6C040V1712 | #N/A
| 59TP6C060V14--12 | C59TP6C060V1412 | #N/A
| 59TP6C060V17--16 | C59TP6C060V1716 | #N/A
| 59TP6C080V17--16 | C59TP6C080V1716 | #N/A
| 59TP6C080V21--20 | C59TP6C080V2120 | #N/A
| 59TP6C100V21--20 | C59TP6C100V2120 | #N/A
| 59TP6C100V21--22 | C59TP6C100V2122 | #N/A
| 59TP6C120V24--22 | C59TP6C120V2422 | #N/A
COMFORT 96% 1-STAGE FURNACE | 59SC6A026M14--10 | C59SC6A026M1410 | #N/A | GOOD
| 59SC6A040M14--10 | C59SC6A040M1410 | #N/A
| 59SC6A040M17--12 | C59SC6A040M1712 | #N/A
| 59SC6A060M14--12 | C59SC6A060M1412 | #N/A
| 59SC6A060M17--16 | C59SC6A060M1716 | #N/A
| 59SC6A080M17--16 | C59SC6A080M1716 | #N/A
| 59SC6A080M21--20 | C59SC6A080M2120 | #N/A
| 59SC6A100M21--20 | C59SC6A100M2120 | #N/A
| 59SC6A100M21--22 | C59SC6A100M2122 | #N/A
| 59SC6A120M24--22 | C59SC6A120M2422 | #N/A
| 59SC6A140M24--22 | C59SC6A140M2422 | #N/A
90% LP CONVERSION KIT | AGAGC9NPS01D | RAGAGC9NPS01E | #N/A
GAS FURNACES
| Part Number | Ferguson PN | Price | PRODUCT CATEGORY
INFINITY 80% 2-STAGE VARIABLE SPEED FURNACE | 58TN0B045C17--12 | C58TN0B045C1712 | #N/A | BEST
| 58TN0B070C14--12 | C58TN0B070C1412 | #N/A
| 58TN0B070C17--16 | C58TN0B070C1716 | #N/A
| 58TN0B070C21--20 | C58TN0B070C2120 | #N/A
| 58TN0B090C17--16 | C58TN0B090C1716 | #N/A
| 58TN0B090C21--20 | C58TN0B090C2120 | #N/A
| 58TN0B110C21--20 | C58TN0B110C2120 | #N/A
| 58TN0B135C24--22 | C58TN0B135C2422 | #N/A
PERFORMANCE 80% 2-STAGE VARIABLE SPEED FURNACE | 58TP0B045V14--12 | C58TP0B045V1412 | #N/A | BETTER
| 58TP0B070V14--12 | C58TP0B070V1412 | #N/A
| 58TP0B070V17--16 | C58TP0B070V1716 | #N/A
| 58TP0B090V17--16 | C58TP0B090V1716 | #N/A
| 58TP0B090V21--20 | C58TP0B090V2120 | #N/A
| 58TP0B110V21--22 | C58TP0B110V2122 | #N/A
| 58TP0B135V24--22 | C58TP0B135V2422 | #N/A
COMFORT 80% 1-STAGE FURNACE | 58SB0B045M14--12 | C58SB0B045M1412 | #N/A | GOOD
| 58SB0B045M17--14 | C58SB0B045M1714 | #N/A
| 58SB0B070M14-12 | C58SB0B070M1412 | #N/A
| 58SB0B070M17--12 | C58SB0B070M1712 | #N/A
| 58SB0B070M17--16 | C58SB0B070M1716 | #N/A
| 58SB0B070M21--16 | C58SB0B070M2116 | #N/A
| 58SB0B090M17--14 | C58SB0B090M1714 | #N/A
| 58SB0B090M21--16 | C58SB0B090M2116 | #N/A
| 58SB0B090M21--20 | C58SB0B090M2120 | #N/A
| 58SB0B110M21--20 | C58SB0B110M2120 | #N/A
| 58SB0B110M24--20 | C58SB0B110M2420 | #N/A
| 58SB0B135M24--20 | C58SB0B135M2420 | #N/A
80% LP CONVERSION KIT | AGAGC8NPS01C | RAGAGC8NPS01C | #N/A

## FAN COILS & HEAT STRIPS
FAN COILS & HEAT STRIPS
2026-01-26
| Part Number | Ferguson PN | Price | PRODUCT CATEGORY
R454B INFINITY SERIES COMMUNICATING FAN COIL | FE5BNXB24L00 | CFE5BNXB24L00 | #N/A | BEST
| FE5BNXC36L00 | CFE5BNXC36L00 | #N/A | *Use Slope Coil Downflow Kit
| FE5BNBC36L00 | CFE5BNBC36L00 | #N/A | *FE5BNB MODELS ARE MODULAR 2-PIECE CABINET DESIGN
| FE5BNXC48L00 | CFE5BNXC48L00 | #N/A | *FE5BNX MODELS ARE 1-PIECE CABINET DESIGN
| FE5BNBC48L00 | CFE5BNBC48L00 | #N/A
| FE5BNBD60L00 | CFE5BNBD60L00 | #N/A
R454B PERFORMANCE SERIES VARIABLE SPEED FAN COIL | FT5ANXB24L00 | CFT5ANXB24L00 | #N/A | BETTER
| FT5ANBC36L00 | CFT5ANBC36L00 | #N/A | *Use Slope Coil Downflow Kit
| FT5ANBC48L00 | CFT5ANBC48L00 | #N/A | *FT5ANB MODELS ARE MODULAR 2-PIECE CABINET DESIGN
| FT5ANBD60L00 | CFT5ANBD60L00 | #N/A | *FT5ANX MODELS ARE 1-PIECE CABINET DESIGN
R454B COMFORT SERIES FAN COIL | FJ5ANXA18L00 | CFJ5ANXA18L00 | #N/A | GOOD
| FJ5ANXB24L00 | CFJ5ANXB24L00 | #N/A | *Use Slope Coil Downflow Kit
| FJ5ANXB30L00 | CFJ5ANXB30L00 | #N/A
| FJ5ANXB36L00 | CFJ5ANXB36L00 | #N/A
| FJ5ANXC42L00 | CFJ5ANXC42L00 | #N/A
| FJ5ANXC48L00 | CFJ5ANXC48L00 | #N/A
| FJ5ANXD60L00 | CFJ5ANXD60L00 | #N/A
Unitary Strip Heat for FJ, FT, FE4B & FE5B Fan Coils | FF-2401C05 | TFF2401C05 | #N/A | 5kW sizes 24-60
| FF-2501C08 | TFF2501C08 | #N/A | 8kW sizes 24-60
| FF-2601C10 | TFF2601C10 | #N/A | 10kW sizes 24-60
| FF-3101C15 | TFF3101C15 | #N/A | 15kW sizes 24-60
| FF-3301C20 | TFF3301C20 | #N/A | 20kW sizes 30-60
| FF-8401C05 | TFF8401C05 | #N/A | 5kW size 18 ONLY
| FF-8501C08 | TFF8501C08 | #N/A | 8kW size 18 ONLY
| FF-8601C10 | TFF8601C10 | #N/A | 10kW size 18 ONLY
Downflow Kits - Unitary Fan Coils | KFADC0201SLP | CKFADC0201SLP | #N/A | Downflow Kit - Slope Coil, FJ5 18-24, FE5/FT5 36
| KFADC0401ACL | CKFADC0401ACL | #N/A | Downflow Kit - A Coil, FJ5 30-60, FE5/FT5 24,48,60
CROSSOVER FAN COILS & HEAT STRIP KITS
R454B CROSSOVER FAN COIL FOR USE W/ 37MUHA | 45MUHAQ24XX3 | C45MUHAQ24XX3 | #N/A | *Use EHKMD model heat strips
| 45MUHAQ36XX3 | C45MUHAQ36XX3 | #N/A | *MODULAR 2 PIECE CABINET DESIGN
| 45MUHAQ60XX3 | C45MUHAQ60XX3 | #N/A | *4" MEDIA FILTER RACK INCLUDED
*5 TON FAN COIL IS 21" WIDTH
R454B CROSSOVER FAN COIL FOR USE W/ 37MURA/37MUHA | 45MUAAQ18XX3 | C45MUAAQ18XX3 | #N/A | *SINGLE PIECE CABINET DESIGN
| 45MUAAQ24XX3 | C45MUAAQ24XX3 | #N/A | *Use EHKMC model heat strips
| 45MUAAQ30XX3 | C45MUAAQ30XX3 | #N/A
| 45MUAAQ36XX3 | C45MUAAQ36XX3 | #N/A
| 45MUAAQ48XX3 | C45MUAAQ48XX3 | #N/A
| 45MUAAQ60XX3 | C45MUAAQ60XX3 | #N/A
R454B DUCTED DUCTLESS FAN COIL FOR USE W/ 37MAHA | 45MBAAQ18XB3 | C45MBAAQ18XB3 | #N/A | *BLOWER POWERED FROM OUTDOOR UNIT
| 45MBAAQ24XB3 | C45MBAAQ24XB3 | #N/A | *Use CEHKMC model heat strips
| 45MBAAQ36XB3 | C45MBAAQ36XB3 | #N/A
Heat Strips for 45MUHA FAN COILS | EHKMD05KN | CEHKMD05KN | #N/A | 5kW for sizes 24K-36K
| EHKMD08KN | CEHKMD08KN | #N/A | 8kW for sizes 24K-36K
| EHKMD10KN | CEHKMD10KN | #N/A | 10kW for sizes 24K, 36K, 60K
| EHKMD15KN | CEHKMD15KN | #N/A | 15kW for sizes 24K, 36K, 60K
| EHKMD20KN | CEHKMD20KN | #N/A | 20kW for sizes 36K-60K
| EHKMD25KN | CEHKMD25KN | #N/A | 25kW for size 60K ONLY
Heat Strips for 45MBAA/45MUAA FAN COILS | EHKMC05KN | CEHKMC05KN | #N/A | 5kW for sizes 18K-36K
| EHKMC08KN | CEHKMC08KN | #N/A | 8kW for sizes 18K-48K
| EHKMC10KN | CEHKMC10KN | #N/A | 10kW for sizes 18K-60K
| EHKMC15KN | CEHKMC15KN | #N/A | 15kW for sizes 24K-60K
| EHKMC20KN | CEHKMC20KN | #N/A | 20kW for sizes 36K-60K
| EHKMC25KN | CEHKMC25KN | #N/A | 25kW for size 60K ONLY

## EVAP COILS
EVAP COILS
2026-01-26
| Part Number | Ferguson PN | Price
R454B UPFLOW / DOWNFLOW CASED V COIL | CVAVA1814XMA | CCVAVA1814XMA | #N/A
| CVAVA1917XMA | CCVAVA1917XMA | #N/A
| CVAVA2414XMA | CCVAVA2414XMA | #N/A
| CVAVA2417XMA | CCVAVA2417XMA | #N/A
| CVAVA2514XMA | CCVAVA2514XMA | #N/A
| CVAVA2517XMA | CCVAVA2517XMA | #N/A
| CVAVA3014XMA | CCVAVA3014XMA | #N/A
| CVAVA3017XMA | CCVAVA3017XMA | #N/A
| CVAVA3117XMA | CCVAVA3117XMA | #N/A
| CVAVA3617XMA | CCVAVA3617XMA | #N/A
| CVAVA3621XMA | CCVAVA3621XMA | #N/A
| CVAVA3721XMA | CCVAVA3721XMA | #N/A
| CVAVA3817XMA | CCVAVA3817XMA | #N/A
| CVAVA4217XMA | CCVAVA4217XMA | #N/A
| CVAVA4221XMA | CCVAVA4221XMA | #N/A
| CVAVA4224XMA | CCVAVA4224XMA | #N/A
| CVAVA4821XMA | CCVAVA4821XMA | #N/A
| CVAVA4824XMA | CCVAVA4824XMA | #N/A
| CVAVA4924XMA | CCVAVA4924XMA | #N/A
| CVAVA6021XMA | CCVAVA6021XMA | #N/A
| CVAVA6024XMA | CCVAVA6024XMA | #N/A
| CVAVA6121XMA | CCVAVA6121XMA | #N/A
| CVAVA6124XMA | CCVAVA6124XMA | #N/A
R454B MULTIPOISE CASED V COIL | CVAMA2414XMA | CCVAMA2414XMA | #N/A
| CVAMA2417XMA | CCVAMA2417XMA | #N/A
| CVAMA2517XMA | CCVAMA2517XMA | #N/A
| CVAMA3017XMA | CCVAMA3017XMA | #N/A
| CVAMA3117XMA | CCVAMA3117XMA | #N/A
| CVAMA3217XMA | CCVAMA3217XMA | #N/A
| CVAMA3617XMA | CCVAMA3617XMA | #N/A
| CVAMA4221XMA | CCVAMA4221XMA | #N/A
| CVAMA4321XMA | CCVAMA4321XMA | #N/A
| CVAMA4421XMA | CCVAMA4421XMA | #N/A
| CVAMA4821XMA | CCVAMA4821XMA | #N/A
| CVAMA4921XMA | CCVAMA4921XMA | #N/A
| CVAMA6021XMA | CCVAMA6021XMA | #N/A
| CVAMA6024XMA | CCVAMA6024XMA | #N/A
| CVAMA6124XMA | CCVAMA6124XMA | #N/A
R454B MULTIPOISE CASED A COIL | CAAMP1917AMA | CCAAMP1917AMA | #N/A
| CAAMP2414AMA | CCAAMP2414AMA | #N/A
| CAAMP2417AMA | CCAAMP2417AMA | #N/A
| CAAMP2517AMA | CCAAMP2517AMA | #N/A
| CAAMP3014AMA | CCAAMP3014AMA | #N/A
| CAAMP3017AMA | CCAAMP3017AMA | #N/A
| CAAMP3617AMA | CCAAMP3617AMA | #N/A
| CAAMP3717AMA | CCAAMP3717AMA | #N/A
| CAAMP3721AMA | CCAAMP3721AMA | #N/A
| CAAMP4221AMA | CCAAMP4221AMA | #N/A
| CAAMP4321AMA | CCAAMP4321AMA | #N/A
| CAAMP4821AMA | CCAAMP4821AMA | #N/A
| CAAMP6024AMA | CCAAMP6024AMA | #N/A
| CAAMP6121AMA | CCAAMP6121AMA | #N/A
| CAAMP6124AMA | CCAAMP6124AMA | #N/A
EVAP COILS
| Part Number | Ferguson PN | Price
R454B HORIZONTAL ONLY CASED SLAB COIL | CSAHP2412AMA | CCSAHP2412AMA | #N/A
| CSAHP3012AMA | CCSAHP3012AMA | #N/A
| CSAHP3612AMA | CCSAHP3612AMA | #N/A
| CSAHP4212AMA | CCSAHP4212AMA | #N/A
| CSAHP4812AMA | CCSAHP4812AMA | #N/A
| CSAHP6012AMA | CCSAHP6012AMA | #N/A
R454B 45MULA COIL FOR USE WITH 37MURA/37MUHA HEAT PUMPS | 45MULAQ24XAX | C45MULAQ24XAX | #N/A
| 45MULAQ24XBX | C45MULAQ24XBX | #N/A
| 45MULAQ36XBX | C45MULAQ36XAX | #N/A
| 45MULAQ36XBX | C45MULAQ36XBX | #N/A
| 45MULAQ36XCX | C45MULAQ36XCX | #N/A
| 45MULAQ60XDX | C45MULAQ60XDX | #N/A
| 45MULAQ60XMX | C45MULAQ60XMX | #N/A
R454B NAVA5 UNCASED MOBILE HOME COIL | FOR USE W/ SMART COMFORT BY CARRIER FAN COILS
| NAVA53601CK | INAVA53601CK | #N/A | 1.5-3T DNFL UNCSD ASSY COIL R454B
| NAVA54801CK | INAVA54801CK | #N/A | 3.5-4T DNFL UNCSD ASSY COIL R454B
| NAVA56001CK | INAVA56001CK | #N/A | 5T DNFL UNCSD ASSY COIL R454B
| INAXA50110TK | INAXA50110TK | #N/A | R454B WIRE HARNESS KIT FOR FEVA AIR HANDLER

## AIR CONDITIONERS
AIR CONDITIONERS
2026-01-26
| Part Number | Ferguson PN | Price | PRODUCT CATEGORY
R454B INFINITY SERIES 21 SEER2 VARIABLE SPEED AC | 26VNA124W003 | C26VNA124W003 | #N/A | BEST
| 26VNA136W003 | C26VNA136W003 | #N/A
| 26VNA148W003 | C26VNA148W003 | #N/A
| 26VNA160W003 | C26VNA160W003 | #N/A
R454B PERFORMANCE 18 SEER2 2-STAGE AC | 26TPA824W003 | C26TPA824W003 | #N/A | BETTER
| 26TPA836W003 | C26TPA836W003 | #N/A
| 26TPA848W003 | C26TPA848W003 | #N/A
| 26TPA860W003 | C26TPA860W003 | #N/A
R454B PERFORMANCE 16 SEER2 1-STAGE AC | 26SPA618W003 | C26SPA618W003 | #N/A
| 26SPA624W003 | C26SPA624W003 | #N/A
| 26SPA630W003 | C26SPA630W003 | #N/A
| 26SPA636W003 | C26SPA636W003 | #N/A
| 26SPA642W003 | C26SPA642W003 | #N/A
| 26SPA648W003 | C26SPA648W003 | #N/A
| 26SPA660W003 | C26SPA660W003 | #N/A
R454B COMFORT SERIES 14 SEER2 1-STAGE AC | 26SCA418N003 | C26SCA418N003 | #N/A | GOOD
| 26SCA424N003 | C26SCA424N003 | #N/A
| 26SCA430N003 | C26SCA430N003 | #N/A
| 26SCA436N003 | C26SCA436N003 | #N/A
| 26SCA442N003 | C26SCA442N003 | #N/A
| 26SCA448N003 | C26SCA448N003 | #N/A
| 26SCA460N003 | C26SCA460N003 | #N/A

## HEAT PUMPS
HEAT PUMPS
2026-01-26
| Part Number | Ferguson PN | Price | PRODUCT CATEGORY
R454B INFINITY SERIES 23 SEER2 / GREENSPEED INVERTER HEAT PUMP | 27VNA324A003 | C27VNA324A003 | #N/A | BEST
| 27VNA336A003 | C27VNA336A003 | #N/A
| 27VNA348A003 | C27VNA348A003 | #N/A
| 27VNA360A003 | C27VNA360A003 | #N/A
R454B INFINITY SERIES 20 SEEER2 /GREENSPEED INVERTER HEAT PUMP | 27VNA024A003 | C27VNA024A003 | #N/A
| 27VNA036A003 | C27VNA036A003 | #N/A
| 27VNA048A003 | C27VNA048A003 | #N/A
| 27VNA060A003 | C27VNA060A003 | #N/A
CROSSOVER HEAT PUMP R454B HIGH HEAT PERFORMANCE SERIES 18 SEER2 INVERTER | 37MUHAQ18AA3 | C37MUHAQ18AA3 | #N/A | BETTER
| 37MUHAQ24AA3 | C37MUHAQ24AA3 | #N/A
| 37MUHAQ30AA3 | C37MUHAQ30AA3 | #N/A
| 37MUHAQ36AA3 | C37MUHAQ36AA3 | #N/A
| 37MUHAQ48AA3 | C37MUHAQ48AA3 | #N/A
| 37MUHAQ60AA3 | C37MUHAQ60AA3 | #N/A
R454B INTELISENSE PERFORMANCE SERIES 18 SEER2 / 2-STAGE HEAT PUMP | 27TPA824A003 | C27TPA824A003 | #N/A
| 27TPA836A003 | C27TPA836A003 | #N/A
| 27TPA848A003 | C27TPA848A003 | #N/A
| 27TPA860A003 | C27TPA860A003 | #N/A
R454B INTELISENSE PERFORMANCE SERIES 16 SEER2 / 1-STAGE HEAT PUMP | 27SPA618A003 | C27SPA618A003 | #N/A
| 27SPA624A003 | C27SPA624A003 | #N/A
| 27SPA630A003 | C27SPA630A003 | #N/A
| 27SPA636A003 | C27SPA636A003 | #N/A
| 27SPA642A003 | C27SPA642A003 | #N/A
| 27SPA648A003 | C27SPA648A003 | #N/A
| 27SPA660A003 | C27SPA660A003 | #N/A
CROSSOVER HEAT PUMP R454B REGULAR HEAT COMFORT SERIES 18 SEER2 INVERTER | 37MURAQ18AA3 | C37MURAQ18AA3 | #N/A | GOOD
| 37MURAQ24AA3 | C37MURAQ24AA3 | #N/A
| 37MURAQ30AA3 | C37MURAQ30AA3 | #N/A
| 37MURAQ36AA3 | C37MURAQ36AA3 | #N/A
| 37MURAQ48AA3 | C37MURAQ48AA3 | #N/A
| 37MURAQ60AA3 | C37MURAQ60AA3 | #N/A
R454B COMFORT SERIES 16 SEER2 / 1-STAGE HEAT PUMP | 27SCA518A003 | C27SCA518A003 | #N/A
| 27SCA524A003 | C27SCA524A003 | #N/A
| 27SCA530A003 | C27SCA530A003 | #N/A
| 27SCA536A003 | C27SCA536A003 | #N/A
| 27SCA542A003 | C27SCA542A003 | #N/A
| 27SCA548A003 | C27SCA548A003 | #N/A
| 27SCA560A003 | C27SCA560A003 | #N/A
R454B COMFORT SERIES 460v/3 PHASE / 15 SEER2 1-STAGE HP | 27SCA536A006 | C27SCA536A006 | #N/A | COMMERCIAL 3-PHASE
| 27SCA548A006 | C27SCA548A006 | #N/A
| 27SCA560A006 | C27SCA560A006 | #N/A
R454B COMFORT SERIES 208v/3 PHASE / 15 SEER2 1-STAGE HP | 27SCA536A005 | C27SCA536A005 | #N/A
| 27SCA548A005 | C27SCA548A005 | #N/A
| 27SCA560A005 | C27SCA560A005 | #N/A
DUCTED DUCTLESS HEAT PUMP - FOR USE WITH 45MBAA FAN COILS
DUCTED DUCTLESS HEAT PUMP R454B PERFORMANCE SERIES 18 SEER INVERTER | 37MAHAQ18AA3 | C37MAHAQ18AA3 | #N/A | FOR USE WITH 45MBAA FAN COILS
| 37MAHAQ24AA3 | C37MAHAQ24AA3 | #N/A
| 37MAHAQ33AA3 | C37MAHAQ33AA3 | #N/A

## ACCESSORIES
ACCESSORIES
2026-01-26
| Part Number | Ferguson PN | Price | Product Description
Infinity System Controls | SYSTXCCITC01-B | CSYSTXCCITC01C | #N/A | Infinity Touch Control Smart Wifi - Communicating- Black
| SYSTXCCWIC01-B | CSYSTXCCWIC01C | #N/A | Infinity Touch Control Smart Wifi - Communicating- White
| TSTATCCEWF01 | CTSTATCCEWF01 | #N/A | Carrier Smart Wifi Non-Communicating Thermostat
| SYSTXCC4ZC01 | CSYSTXCC4ZC01 | #N/A | Infinity Damper Control Module - 4-Zones
| SYSTXCCNIM01 | CSYSTXCCNIM01 | #N/A | Infinity NIM module - For use w/non-communicating HP's
| SYSTXZNSMS01 | CSYSTXZNSMS01 | #N/A | Infinity Smart Sensor - Additional Zone Stats
ECOBEE STATS | EB-STATE7P-01 | REBSTATE7P01 | #N/A | Ecobee 7 Lite Pro - Replaced Ecobee 3 Lite
| EB-STATE7ICR-01 | CEBSTATE7ICR01 | #N/A | NEW Ecobee 7 Lite Pro - Carrier Branded - Intellisense
| EB-STATE7PB01 | EEBSTATE7PB01 | #N/A | Ecobee 7 Lite Pro - Builder Model
| EB-STATE3LTICR-01 | CEBSTATE3LTICR01 | #N/A | Ecobee 3 Lite Pro - Carrier Branded - Intellisense (limited stock)
| EB-STATE6P-01 | REBSTATE6P01 | #N/A | Ecboee Premium Control w/ Smart Sensor
| EB-STATE6ICR-01 | CEBSTATE6ICR01 | #N/A | Ecobee Premium Carrier Branded - Intellisense
| EB-STATE6LP-01 | EEBSTATE6LP01 | #N/A | Ecobee Enhanced Control
| EB-STATE6PB01 | EEBSTATE6PB01 | #N/A | Ecobee Premium - Builder Model
| EB-RSHM2PK-01 | REBRSHM2PK01 | #N/A | Ecobee Wireless Smart Sensors
CARRIER EDGE 2-WIRE STATS | 33CS2PP2S03 | C33CS2PP2S03 | #N/A | EDGE PRO 2H/2C PROG. STAT
| 33CS2PPRH03 | C33CS2PPRH03 | #N/A | EDGE PRO PROG. STAT WITH HUMIDITY CONTROL
RGF AIR PURIFICATION | REMELEDAS | RREMELEDAS | #N/A | RGF LED AIR PURIFIER
| REMEH | RREMEH | #N/A | RGF UV AIR PURIFIER
| ZEROH4ACT | RZEROH4ACT | #N/A | RGF ZERO OZONE AIR PURIFIER
| SPLITHVACPHI230 | ARFSPLITHVACPHI230 | #N/A | RGF MINI SPLIT AIR PURIFIER
| CLEARSKYMS | ARFCLEARSKYMS | #N/A | RGF MINI SPLIT AIR PURIFIER-BUDGET OPTION
| RPHIPKG524V | RPHIPKG524V | #N/A | RGF DUCT MOUNTED 5" COMM AIR PURIFICATION SYSTEM
| RPHIPKG924V | RPHIPKG924V | #N/A | RGF DUCT MOUNTED 9" COMM AIR PURIFICATION SYSTEM
| CLEARSKYDM | RCLEARSKYDM | #N/A | RGF DUCT MOUNTED AIR PURIFIER-BUDGET OPTION
AERUS AIR SCRUBBERS | 9960051 | A9960051 | #N/A | AIR SCRUBBER PURIFIER - OZONE
| 9960052 | A9960052 | #N/A | AIR SCRUBBER PURIFIER - NO OZONE
| 00811 | A00811 | #N/A | LAUNDRY PRO 3.0
| 00693 | A00693 | #N/A | PLUG IN WALL OUTLET PURIFIER - 250 SQ FT
| 00746 | A00746 | #N/A | PURE & CLEAN - STAND ALONE PURIFIER - 2000 SQ FT
Infinity Air Purifiers | DGAPAXX1620 | CDGAPAXX1620 | #N/A | Infinity Air Purifier 16x20
| DGAPAXX1625 | CDGAPAXX1625 | #N/A | Infinity Air Purifier 16x25
| DGAPAXX2020 | CDGAPAXX2020 | #N/A | Infinity Air Purifier 20x20
| DGAPAXX2025 | CDGAPAXX2025 | #N/A | Infinity Air Purifier 20x25
| DGAPAXX2420 | CDGAPAXX2420 | #N/A | Infinity Air Purifier 24x20
ELECTRONIC AIR CLEANERS | F300E1001 | HF300E1001 | #N/A | (16X20, 1200 CFM
RGF AIR PURIFICATION | F300E1019 | HF300E1019 | #N/A | (16X25, 1400 CFM)
RGF AIR PURIFICATION | F300E1027 | HF300E1027 | #N/A | (20X20, 1400 CFM)
RGF AIR PURIFICATION | F300E1035 | HF300E1035 | #N/A | (20X25, 2000 CFM)
HONEYWELL 4" MEDIA AIR CLEANERS | F100F1620 | HF100F1620 | #N/A | (16X20X4")
RGF AIR PURIFICATION | F100F1625 | HF100F1625 | #N/A | (16X25X4")
RGF AIR PURIFICATION | F100F2020 | HF100F2020 | #N/A | (20X20X4")
RGF AIR PURIFICATION | F100F2025 | HF100F2025 | #N/A | (20X25X4")
APRILAIRE 4" MEDIA AIR CLEANERS | 1110 | R1110 | #N/A | 16X20 MEDIA AIR CLEANER - MERV 11
RGF AIR PURIFICATION | 1210 | R1210 | #N/A | 20X25 MEDIA AIR CLEANER - MERV 11
RGF AIR PURIFICATION | 1310 | RES1310 | #N/A | 20X20 MEDIA AIR CLEANER - MERV 11
RGF AIR PURIFICATION | 1410 | RES1410 | #N/A | 16X25 MEDIA AIR CLEANER - MERV 11
CARRIER HUMIDIFIERS | HUMCRSBP2412-A18 | CHUMCRSBP2412-A18 | #N/A | Carrier Small Bypass 12 gal/day
RGF AIR PURIFICATION | HUMCRLBP2417-A12 | CHUMCRLBP2417-A12 | #N/A | Carrier Large Bypass 17 gal/day
RGF AIR PURIFICATION | HUMCRLFP1518A12 | CHUMCRLFP1518A12 | #N/A | Carrier Large Fan Powered 18 gal/day
RGF AIR PURIFICATION | HUMCRSTM3134 | CHUMCRSTM3134 | #N/A | Carrier Steam Humidifier 34 gal/day
ACCESSORIES
BETTER
| Part Number | Ferguson PN | Price | Product Description
Ductless Accessories | KSACN0601AAA | CKSACN0601AAA | #N/A | DLS Wired Control (Infinity & Comfort High wall)
| KSACN0701AAA | CKSACN0701AAA | #N/A | DLS Wired Control (Performance High Wall)
| KSACN0801AAA | CKSACN0801AAA | #N/A | DLS Wired Control (Cassette, Console 18K & 24K, Ducted)
| KSACN1201AAA | CKSACN1201AAA | #N/A | DLS R454B WIR REM CNTL
| KSACN1401AAA | CKSACN1401AAA | #N/A | DLS R454B WIR REM CNTL
| KSAIF0101AAA | CKSAIF0101AAA | #N/A | WiFi Kit - Comfort High Wall
| KSAIF0201AAA | CKSAIF0201AAA | #N/A | WiFi Kit - Comfort 18K High Wall
| KSAIF0401AAA | CKSAIF0401AAA | #N/A | WiFi Kit - Cassette, Console, Ducted
| KSAIF0601AAA | CKSAIF0601AAA | #N/A | WiFi Kit - Performance High Wall
| KSAIF0701AAA | CKSAIF0701AAA | #N/A | R454B WI-FI KIT W/OTA
| KSAIC0301230 | CKSAIC0301230 | #N/A | 24V Interface
| KSAIC0501230 | CKSAIC0501230 | #N/A | 24V Interface - INDOOR/OUTDOOR
| KSAIC0601230 | CKSAIC0601230 | #N/A | 24V Interface - MINI - INDOOR USE ONLY
| 40MD000003 | R40MD000003 | #N/A | Angled Piping Adapter - Unitary Fan Coils
| 331831701 | R331831701 | #N/A | Straight Piping Adapter - Unitary Evaporator Coils
ROUND ZONING DAMPERS | CDAMPRND06INCB | CDAMPRND06INCB | #N/A
| CDAMPRND08INCB | CDAMPRND08INCB | #N/A
| CDAMPRND10INCB | CDAMPRND10INCB | #N/A
| CDAMPRND12INCB | CDAMPRND12INCB | #N/A
| CDAMPRND14INCB | CDAMPRND14INCB | #N/A
| CDAMPRND16INCB | CDAMPRND16INCB | #N/A
RECTANGULAR BOTTOM MOUNT ZONING DAMPERS | CDAMPSLB08X10B | CDAMPSLB08X10B | #N/A
| CDAMPSLB08X12B | CDAMPSLB08X12B | #N/A
| CDAMPSLB08X14B | CDAMPSLB08X14B | #N/A
| CDAMPSLB08X16B | CDAMPSLB08X16B | #N/A
| CDAMPSLB08X18B | CDAMPSLB08X18B | #N/A
| CDAMPSLB08X20B | CDAMPSLB08X20B | #N/A
| CDAMPSLB08X22B | CDAMPSLB08X22B | #N/A
| CDAMPSLB08X24B | CDAMPSLB08X24B | #N/A
| CDAMPSLB10X10B | CDAMPSLB10X10B | #N/A
| CDAMPSLB10X12B | CDAMPSLB10X12B | #N/A
| CDAMPSLB10X14B | CDAMPSLB10X14B | #N/A
| CDAMPSLB10X16B | CDAMPSLB10X16B | #N/A
| CDAMPSLB10X18B | CDAMPSLB10X18B | #N/A
| CDAMPSLB10X20B | CDAMPSLB10X20B | #N/A
| CDAMPSLB10X22B | CDAMPSLB10X22B | #N/A
| CDAMPSLB10X24B | CDAMPSLB10X24B | #N/A
| CDAMPSLB12X12B | CDAMPSLB12X12B | #N/A
| CDAMPSLB12X14B | CDAMPSLB12X14B | #N/A
| CDAMPSLB12X16B | CDAMPSLB12X16B | #N/A
| CDAMPSLB12X18B | CDAMPSLB12X18B | #N/A
| CDAMPSLB12X20B | CDAMPSLB12X20B | #N/A
| CDAMPSLB14X14B | CDAMPSLB14X14B | #N/A
| CDAMPSLB14X16B | CDAMPSLB14X16B | #N/A
| CDAMPSLB14X20B | CDAMPSLB14X20B | #N/A
| CDAMPSLB16X16B | CDAMPSLB16X16B | #N/A
| CDAMPSLB16X20B | CDAMPSLB16X20B | #N/A
RECTANGULAR SIDE MOUNT ZONING DAMPERS | CDAMPSLS08X08B | CDAMPSLS08X08B | #N/A | NOTE:
| CDAMPSLS08X16B | CDAMPSLS08X16B | #N/A | *SIDE MOUNT ACTUATOR DAMPERS MAY BE FACTORY ORDER
| CDAMPSLS08X20B | CDAMPSLS08X20B | #N/A
| CDAMPSLS08X22B | CDAMPSLS08X22B | #N/A
| CDAMPSLS10X10B | CDAMPSLS10X10B | #N/A
| CDAMPSLS10X12B | CDAMPSLS10X12B | #N/A
| CDAMPSLS10X14B | CDAMPSLS10X14B | #N/A
| CDAMPSLS10X16B | CDAMPSLS10X16B | #N/A
| CDAMPSLS10X20B | CDAMPSLS10X20B | #N/A
| CDAMPSLS10X22B | CDAMPSLS10X22B | #N/A
| CDAMPSLS10X24B | CDAMPSLS10X24B | #N/A
| CDAMPSLS12X12B | CDAMPSLS12X12B | #N/A
| CDAMPSLS12X14B | CDAMPSLS12X14B | #N/A
| CDAMPSLS12X16B | CDAMPSLS12X16B | #N/A
| CDAMPSLS12X18B | CDAMPSLS12X18B | #N/A
| CDAMPSLS12X20B | CDAMPSLS12X20B | #N/A
| CDAMPSLS14X14B | CDAMPSLS14X14B | #N/A
| CDAMPSLS14X16B | CDAMPSLS14X16B | #N/A
| CDAMPSLS14X20B | CDAMPSLS14X20B | #N/A
| CDAMPSLS16X16B | CDAMPSLS16X16B | #N/A

## MOBILE HOME APPROVED
MOBILE HOME APPROVED
2026-01-26
| Part Number | Ferguson PN | Price
GAS FURNACES
COMFORT 96% 1-STAGE FURNACE | 59SC6A026M14--10 | C59SC6A026M1410 | #N/A
| 59SC6A040M14--10 | C59SC6A040M1410 | #N/A
| 59SC6A040M17--12 | C59SC6A040M1712 | #N/A
| 59SC6A060M14--12 | C59SC6A060M1412 | #N/A
| 59SC6A060M17--16 | C59SC6A060M1716 | #N/A
| 59SC6A080M17--16 | C59SC6A080M1716 | #N/A
| 59SC6A080M21--20 | C59SC6A080M2120 | #N/A
| 59SC6A100M21--20 | C59SC6A100M2120 | #N/A
| 59SC6A100M21--22 | C59SC6A100M2122 | #N/A
| 59SC6A120M24--22 | C59SC6A120M2422 | #N/A
| 59SC6A140M24--22 | C59SC6A140M2422 | #N/A
90% LP CONVERSION KIT | AGAGC9NPS01D | RAGAGC9NPS01E | #N/A
ELECTRIC FURNACES
R454B PERFORMANCE SERIES VARIABLE SPEED FAN COIL | FT5ANXB24L00 | CFT5ANXB24L00 | #N/A | BETTER
| FT5ANBC36L00 | CFT5ANBC36L00 | #N/A
| FT5ANBC48L00 | CFT5ANBC48L00 | #N/A
| FT5ANBD60L00 | CFT5ANBD60L00 | #N/A
R454B COMFORT SERIES FAN COIL | FJ5ANXA18L00 | CFJ5ANXA18L00 | #N/A | GOOD
| FJ5ANXB24L00 | CFJ5ANXB24L00 | #N/A
| FJ5ANXB30L00 | CFJ5ANXB30L00 | #N/A
| FJ5ANXB36L00 | CFJ5ANXB36L00 | #N/A
| FJ5ANXC42L00 | CFJ5ANXC42L00 | #N/A
| FJ5ANXC48L00 | CFJ5ANXC48L00 | #N/A
| FJ5ANXD60L00 | CFJ5ANXD60L00 | #N/A
UNITARY STRIP HEAT FOR FJ & FT FAN COILS | FF-2401C05 | TFF2401C05 | #N/A | 5kW sizes 24-60
| FF-2501C08 | TFF2501C08 | #N/A | 8kW sizes 24-60
| FF-2601C10 | TFF2601C10 | #N/A | 10kW sizes 24-60
| FF-3101C15 | TFF3101C15 | #N/A | 15kW sizes 24-60
| FF-3301C20 | TFF3301C20 | #N/A | 20kW sizes 30-60
| FF-8401C05 | TFF8401C05 | #N/A | 5kW size 18 ONLY
| FF-8501C08 | TFF8501C08 | #N/A | 10kW size 18 ONLY
| FF-8601C10 | TFF8601C10 | #N/A | 15kW size 18 ONLY
Downflow Kits - Unitary Fan Coils | KFADC0201SLP | CKFADC0201SLP | #N/A | Downflow Kit - Slope Coil, FJ5 18-24, FE5/FT5 36
| KFADC0401ACL | CKFADC0401ACL | #N/A | Downflow Kit - A Coil, FJ5 30-60, FE5/FT5 24,48,60
MOBILE HOME APPROVED
COILS
R454B UPFLOW / DOWNFLOW CASED V COIL | CVAVA1814XMA | CCVAVA1814XMA | #N/A
| CVAVA1917XMA | CCVAVA1917XMA | #N/A
| CVAVA2414XMA | CCVAVA2414XMA | #N/A
| CVAVA2417XMA | CCVAVA2417XMA | #N/A
| CVAVA2514XMA | CCVAVA2514XMA | #N/A
| CVAVA2517XMA | CCVAVA2517XMA | #N/A
| CVAVA3014XMA | CCVAVA3014XMA | #N/A
| CVAVA3017XMA | CCVAVA3017XMA | #N/A
| CVAVA3117XMA | CCVAVA3117XMA | #N/A
| CVAVA3617XMA | CCVAVA3617XMA | #N/A
| CVAVA3621XMA | CCVAVA3621XMA | #N/A
| CVAVA3721XMA | CCVAVA3721XMA | #N/A
| CVAVA3817XMA | CCVAVA3817XMA | #N/A
| CVAVA4217XMA | CCVAVA4217XMA | #N/A
| CVAVA4221XMA | CCVAVA4221XMA | #N/A
| CVAVA4224XMA | CCVAVA4224XMA | #N/A
| CVAVA4821XMA | CCVAVA4821XMA | #N/A
| CVAVA4824XMA | CCVAVA4824XMA | #N/A
| CVAVA4924XMA | CCVAVA4924XMA | #N/A
| CVAVA6021XMA | CCVAVA6021XMA | #N/A
| CVAVA6024XMA | CCVAVA6024XMA | #N/A
| CVAVA6121XMA | CCVAVA6121XMA | #N/A
| CVAVA6124XMA | CCVAVA6124XMA | #N/A
R454B MULTIPOISE CASED V COIL | CVAMA2414XMA | CCVAMA2414XMA | #N/A
| CVAMA2417XMA | CCVAMA2417XMA | #N/A
| CVAMA2517XMA | CCVAMA2517XMA | #N/A
| CVAMA3017XMA | CCVAMA3017XMA | #N/A
| CVAMA3117XMA | CCVAMA3117XMA | #N/A
| CVAMA3217XMA | CCVAMA3217XMA | #N/A
| CVAMA3617XMA | CCVAMA3617XMA | #N/A
| CVAMA4221XMA | CCVAMA4221XMA | #N/A
| CVAMA4321XMA | CCVAMA4321XMA | #N/A
| CVAMA4421XMA | CCVAMA4421XMA | #N/A
| CVAMA4821XMA | CCVAMA4821XMA | #N/A
| CVAMA4921XMA | CCVAMA4921XMA | #N/A
| CVAMA6021XMA | CCVAMA6021XMA | #N/A
| CVAMA6024XMA | CCVAMA6024XMA | #N/A
| CVAMA6124XMA | CCVAMA6124XMA | #N/A
R454B MULTIPOISE CASED A COIL | CAAMP1917AMA | CCAAMP1917AMA | #N/A
| CAAMP2414AMA | CCAAMP2414AMA | #N/A
| CAAMP2417AMA | CCAAMP2417AMA | #N/A
| CAAMP2517AMA | CCAAMP2517AMA | #N/A
| CAAMP3014AMA | CCAAMP3014AMA | #N/A
| CAAMP3017AMA | CCAAMP3017AMA | #N/A
| CAAMP3617AMA | CCAAMP3617AMA | #N/A
| CAAMP3717AMA | CCAAMP3717AMA | #N/A
| CAAMP3721AMA | CCAAMP3721AMA | #N/A
| CAAMP4221AMA | CCAAMP4221AMA | #N/A
| CAAMP4321AMA | CCAAMP4321AMA | #N/A
| CAAMP4821AMA | CCAAMP4821AMA | #N/A
| CAAMP6024AMA | CCAAMP6024AMA | #N/A
| CAAMP6121AMA | CCAAMP6121AMA | #N/A
| CAAMP6124AMA | CCAAMP6124AMA | #N/A
R454B NAVA5 UNCASED MOBILE HOME COIL | FOR USE W/ SMART COMFORT BY CARRIER FAN COILS
| NAVA53601CK | INAVA53601CK | #N/A | 1.5-3T DNFL UNCSD ASSY COIL R454B
| NAVA54801CK | INAVA54801CK | #N/A | 3.5-4T DNFL UNCSD ASSY COIL R454B
| NAVA56001CK | INAVA56001CK | #N/A | 5T DNFL UNCSD ASSY COIL R454B
| NAXA50110TK | INAXA50110TK | #N/A | R454B WIRE HARNESS KIT 10 PACK
MOBILE HOME APPROVED
AIR CONDITIONERS
R454B PERFORMANCE 18 SEER2 2-STAGE AC | 26TPA824W003 | C26TPA824W003 | #N/A | BEST
| 26TPA836W003 | C26TPA836W003 | #N/A
| 26TPA848W003 | C26TPA848W003 | #N/A
| 26TPA860W003 | C26TPA860W003 | #N/A
R454B PERFORMANCE 16 SEER2 1-STAGE AC | 26SPA618W003 | C26SPA618W003 | #N/A | BETTER
| 26SPA624W003 | C26SPA624W003 | #N/A
| 26SPA630W003 | C26SPA630W003 | #N/A
| 26SPA636W003 | C26SPA636W003 | #N/A
| 26SPA642W003 | C26SPA642W003 | #N/A
| 26SPA648W003 | C26SPA648W003 | #N/A
| 26SPA660W003 | C26SPA660W003 | #N/A
R454B COMFORT SERIES 14 SEER2 1-STAGE AC | 26SCA418N003 | C26SCA418N003 | #N/A | GOOD
| 26SCA424N003 | C26SCA424N003 | #N/A
| 26SCA430N003 | C26SCA430N003 | #N/A
| 26SCA436N003 | C26SCA436N003 | #N/A
| 26SCA442N003 | C26SCA442N003 | #N/A
| 26SCA448N003 | C26SCA448N003 | #N/A
| 26SCA460N003 | C26SCA460N003 | #N/A
HEAT PUMPS
CROSSOVER HEAT PUMP R454B HIGH HEAT PERFORMANCE SERIES 18 SEER INVERTER | 37MUHAQ18AA3 | C37MUHAQ18AA3 | #N/A | BEST - HIGH HEAT COLD CLIMATE RATED
| 37MUHAQ24AA3 | C37MUHAQ24AA3 | #N/A
| 37MUHAQ30AA3 | C37MUHAQ30AA3 | #N/A
| 37MUHAQ36AA3 | C37MUHAQ36AA3 | #N/A
| 37MUHAQ48AA3 | C37MUHAQ48AA3 | #N/A
| 37MUHAQ60AA3 | C37MUHAQ60AA3 | #N/A
CROSSOVER HEAT PUMP R454B REGULAR HEAT COMFORT SERIES 18 SEER INVERTER | 37MURAQ18AA3 | C37MURAQ18AA3 | #N/A | BEST - STANDARD HEAT
| 37MURAQ24AA3 | C37MURAQ24AA3 | #N/A
| 37MURAQ30AA3 | C37MURAQ30AA3 | #N/A
| 37MURAQ36AA3 | C37MURAQ36AA3 | #N/A
| 37MURAQ48AA3 | C37MURAQ48AA3 | #N/A
| 37MURAQ60AA3 | C37MURAQ60AA3 | #N/A
R454B INTELISENSE PERFORMANCE SERIES 18 SEER2 / 2-STAGE HEAT PUMP | 27TPA824A003 | C27TPA824A003 | #N/A | BETTER
| 27TPA836A003 | C27TPA836A003 | #N/A
| 27TPA848A003 | C27TPA848A003 | #N/A
| 27TPA860A003 | C27TPA860A003 | #N/A
R454B INTELISENSE PERFORMANCE SERIES 16 SEER2 / 1-STAGE HEAT PUMP | 27SPA618A003 | C27SPA618A003 | #N/A
| 27SPA624A003 | C27SPA624A003 | #N/A
| 27SPA630A003 | C27SPA630A003 | #N/A
| 27SPA636A003 | C27SPA636A003 | #N/A
| 27SPA642A003 | C27SPA642A003 | #N/A
| 27SPA648A003 | C27SPA648A003 | #N/A
| 27SPA660A003 | C27SPA660A003 | #N/A
R454B COMFORT SERIES 16 SEER2 / 1-STAGE HEAT PUMP | 27SCA518A003 | C27SCA518A003 | #N/A | GOOD
| 27SCA524A003 | C27SCA524A003 | #N/A
| 27SCA530A003 | C27SCA530A003 | #N/A
| 27SCA536A003 | C27SCA536A003 | #N/A
| 27SCA542A003 | C27SCA542A003 | #N/A
| 27SCA548A003 | C27SCA548A003 | #N/A
| 27SCA560A003 | C27SCA560A003 | #N/A

## CROSSOVER SYSTEMS
|  | R454B Ducted Solutions Quick Reference Guide | [14 empty] | Ductless Systems
AHRI Rated Btu's |  |  |  | Indoor Unit w/ | [5 empty] | Additional |  |  |  | Maximum | Maximum | Maximum | Maximum
Cooling @ 95°F / | SEER2 | EER2 | HSPF2 | Factory Installed | Indoor Unit | Outdoor Unit With | Outdoor Unit | Line Set | Max. Line | Charge | Max. Lift | MCA / MOCP | Recommended | Heating BTU's at | Heating BTU's at | Cooling BTU's at | Cooling BTU's at
Heating @ 47°F |  |  |  | 24V Interface | Price | Base Pan Heater | Price | Liquid x Suction | Length | >25ft |  |  | Fuse Size | -5F [-20F] | 5F [-15C] | 113⁰F | 122⁰F
[14 empty] | At 69°F Indoor DB |  | At 75.2°F Indoor DB
This Sheet is not intended to replace the Installation Instructions. It is a reference guide only. Always read through the Installation Instructions.
Performance™ Series AHU 1:1 Heat Pump Systems w/ Factory Installed 24V Interface
18,000/19,500 | 18.2 | 12 | 10.1 | C45MBAAQ18XB3 | #N/A | C37MAHAQ18AA3 | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/Ft | 65.62' | 19A / 20A | 20A | 15484 | 18688 | 17391 | 12157
23,000/26,000 | 18.8 | 12 | 10 | C45MBAAQ24XB3 | #N/A | C37MAHAQ24AA3 | #N/A | 3/8" x 5/8" | 164.04' | .32 Oz/Ft | 82.02' | 24.9A / 25A | 25A | 19483 | 24689 | 25819 | 16531
33,000/35,000 | 16.7 | 11.7 | 10 | C45MBAAQ36XB3 | #N/A | C37MAHAQ33AA3 | #N/A | 3/8" x 3/4" | 164.04' | .32 Oz/Ft | 82.02' | 38A / 40A | 40A | 29944 | 35826 | 34216 | 15385
Performance Series Horizontal Discharge AHU 1:1 Heat Pump Split Systems (Crossover Solutions)
18,000/18,000 | 19 | 12.5 | 10.2 | C45MUHAQ24XX3 | #N/A | C37MUHAQ18AA3 | #N/A | 3/8" x 3/4" | 98.42' | .70 Oz/ft | 65.62' | 16A / 20A | 20A | 16514 | 19261 | 17916 | 14214
24,000/24,000 | 18.7 | 12 | 10 | C45MUHAQ24XX3 | #N/A | C37MUHAQ24AA3 | #N/A | 3/8" x 3/4" | 164.04' | .70 Oz/ft | 82.02' | 19A / 20A | 20A | 17927 | 21458 | 23751 | 17725
30,000/33,000 | 17.2 | 12.1 | 10.8 | C45MUHAQ36XX3 | #N/A | C37MUHAQ30AA3 | #N/A | 3/8" x 3/4" | 164.04' | .70 Oz/ft | 82.02' | 29.5A / 30A | 30A | 27252 | 33236 | 32779 | 20649
36,000/37,000 | 18 | 12 | 10 | C45MUHAQ36XX3 | #N/A | C37MUHAQ36AA3 | #N/A | 3/8" x 3/4" | 246' | .70 Oz/ft | 98.43' | 29A / 30A | 30A | 37170 | 38436 | 38525 | 24495
48,000/48,000 | 17.5 | 12 | 9.5 | C45MUHAQ60XX3 | #N/A | C37MUHAQ48AA3 | #N/A | 3/8" x 3/4" | 246' | .70 Oz/ft | 98.43' | 38A / 40A | 40A | 43387 | 48328 | 45560 | 32789
54,000/55,000 | 17.5 | 12 | 9.5 | C45MUHAQ60XX3 | #N/A | C37MUHAQ60AA3 | #N/A | 3/8" x 3/4" | 246' | .70 Oz/ft | 98.43' | 40A / 40A | 40A | 49989 | 56830 | 53125 | 33738
Performance Series Horizontal Discharge AHU 1:1 Heat Pump Split Systems (Crossover Solutions)
note: 18k/24k IDU Capacity select via dip switch and must match ODU size
18,000/19,000 | 19 | 12.5 | 9.8 | C45MUAAQ18XX3 | #N/A | C37MUHAQ18AA3 | #N/A | 3/8" x 3/4" | 98.42' | .70 Oz/ft | 65.62' | 16A / 20A | 20A | 16780 | 19813 | 18855 | 15316
23,000/24,000 | 18.4 | 11.7 | 10 | C45MUAAQ24XX3 | #N/A | C37MUHAQ24AA3 | #N/A | 3/8" x 3/4" | 164.04' | .70 Oz/ft | 82.02' | 19A / 20A | 20A | 17309 | 22891 | 25051 | 16371
30,000/34,000 | 16.9 | 11.7 | 10 | C45MUAAQ30XX3 | #N/A | C37MUHAQ30AA3 | #N/A | 3/8" x 3/4" | 164.04' | .70 Oz/ft | 82.02' | 29.5A / 30A | 30A | 28190 | 33287 | 32404 | 21287
36,000/37,000 | 17.4 | 11.7 | 10.3 | C45MUAAQ36XX3 | #N/A | C37MUHAQ36AA3 | #N/A | 3/8" x 3/4" | 246' | .70 Oz/ft | 98.43' | 29A / 30A | 30A | 35662 | 41538 | 36996 | 24959
48,000/50,000 | 16.5 | 10.5 | 9.5 | C45MUAAQ48XX3 | #N/A | C37MUHAQ48AA3 | #N/A | 3/8" x 3/4" | 246' | .70 Oz/ft | 98.43' | 38A / 40A | 40A | 40674 | 46850 | 42234 | 30465
54,000/56,000 | 16 | 10 | 9 | C45MUAAQ60XX3 | #N/A | C37MUHAQ60AA3 | #N/A | 3/8" x 3/4" | 246' | .70 Oz/ft | 98.43' | 40A / 40A | 40A | 46714 | 54228 | 50848 | 34671
Comfort Series Horizontal Discharge AHU 1:1 High Capacity Heat Pump Split Systems (Crossover Solutions)
note: 18k/24k IDU Capacity select via dip switch and must match ODU size
18,000/18,000 | 18.8 | 11 | 9.2 | C45MUAAQ18XX3 | #N/A | C37MURAQ18AA3 | #N/A | 3/8" x 3/4" | 98.42' | .70 Oz/ft | 65.62' | 16A / 20A | 20A | 9175 | 11379 | 15815 | 9543
24,000/26,000 | 18.2 | 11 | 9.7 | C45MUAAQ24XX3 | #N/A | C37MURAQ24AA3 | #N/A | 3/8" x 3/4" | 164.04' | .70 Oz/ft | 82.02' | 19A / 20A | 20A | 16963 | 22433 | 24550 | 16043
30,000/31,000 | 17 | 10.8 | 8.5 | C45MUAAQ30XX3 | #N/A | C37MURAQ30AA3 | #N/A | 3/8" x 3/4" | 164.04' | .70 Oz/ft | 82.02' | 22.5A / 25A | 25A | 15521 | 19356 | 29603 | 14498
36,000/36,000 | 16.2 | 10 | 8.7 | C45MUAAQ36XX3 | #N/A | C37MURAQ36AA3 | #N/A | 3/8" x 3/4" | 246' | .70 Oz/ft | 98.42' | 24A / 30A | 30A | 22765 | 26515 | 32032 | 18926
48,000/48,000 | 16 | 10 | 8.5 | C45MUAAQ48XX3 | #N/A | C37MURAQ48AA3 | #N/A | 3/8" x 3/4" | 246' | .70 Oz/ft | 98.42' | 36A / 40A | 40A | 35908 | 43152 | 42022 | 30316
54,000/54,000 | 15.2 | 8.7 | 8.4 | C45MUAAQ60XX3 | #N/A | C37MURAQ60AA3 | #N/A | 3/8" x 3/4" | 246' | .70 Oz/ft | 98.42' | 39A / 40A | 40A | 35597 | 41473 | 41858 | 32571
Accessory Options:
Accessory Electric Heater Kits for 45MBAA & 45MUAA | [5 empty] | ACCESSORY ELECTRIC HEATER KITS FOR 45MUHA |  |  |  |  | OPTIONAL - Accessory Air Purifiers & Media Filters
Model Number | Size | Size Used With |  |  | Price | Model Number | Size | Size Used With |  | Price | Model Number |  | Description |  | Size Used With |  | Price
CEHKMC05KN | 5 kW | 18k, 24k, 30k, 36k |  |  | #N/A | CEHKMD05KN | 5 kW | 24k, 36k | 24k, 36k | #N/A | CDGAPAXX1620 |  | Infinity® Air Purifier Size 1620 |  | 18k, 24k |  | #N/A
CEHKMC08KN | 8 kW | 18k, 24k, 30k, 36k, 48k |  |  | #N/A | CEHKMD08KN | 8 kW | 24k, 36k | 24k, 36k | #N/A | CDGAPAXX2020 |  | Infinity® Air Purifier Size 2020 |  | 30k, 36k, 48k |  | #N/A
CEHKMC10KN | 10 kW | 18k, 23k, 30k, 36k, 48k, 60k |  |  | #N/A | CEHKMD10KN | 10 kW | 24k, 36k, 60k | 24k, 36k, 60k | #N/A | CDGAPAXX2420 |  | Infinity® Air Purifier Size 2420 |  | 60k |  | #N/A
CEHKMC15KN | 15kW | 24k, 30k, 36k, 48k, 60k |  |  | #N/A | CEHKMD15KN | 15kW | 24k, 36k, 60k | 24k, 36k, 60k | #N/A | HF100F1620 | HF100F1620 | RESIDEO 4" MEDIA CABINET |  | 1200cfm |  | #N/A
CEHKMC20KN | 20 kW | 36k, 48k, 60k |  |  | #N/A | CEHKMD20KN | 20 kW | 36k, 60k | 36k, 60k | #N/A | HF100F2020 |  | RESIDEO 4" MEDIA CABINET |  | 1400cfm |  | #N/A
CEHKMC25KN | 25 kW | 60k |  |  | #N/A | CEHKMD25KN | 25 kW | 60k | 60k | #N/A | HF100F2044 |  | RESIDEO 4" MEDIA CABINET |  | 2000cfm |  | #N/A
Installation Note: A separate power supply is required for an Auxiliary Electric Heater beyond 10kw heat strip sizes. Single point available up to 10kw sizes. Do not power the electric heater directly from the outdoor unit. Always follow the recommendations on the Installation Instructions.
System Installation Notes:
*The 45MUAA, 45MUHA, 37MURA, and 37MUHA systems are powered seperately. The data supplied from MCA, MOCP, and Recommended Fuse Size is for the outdoor unit.
The minimum line length for all systems is 10'
45MUAA/45MUHA systems allow for either Non-Polarity RS485 or 24V Communication. Refer to the system's Product Data for more information on required wiring depending on communication style.
45MUAA Heat Pump systems require the use of a 3/8" bi-flow liquid line filter drier. The use of filter driers is not allowed on any other ductless style system.
Warranty Information
Residential & Multi-Family Applications: 10 year limited warranty to original purchaser on compressor and parts when system is *registered within 90-days of installation. *Registration not required in CA and Quebec .
Commercial Applications: 7 year limited warranty to original purchaser on compressor and parts. See Warranty documents for full details

## DUCTLESS Single-Zone
|  |  |  | R454B Single Zone Quick Reference Guide | [12 empty] | Ductless Systems
AHRI Rated Btu's |  |  |  | Indoor Unit With Wireless Remote | Indoor Unit Price | Outdoor Unit With Base Pan Heater | Outdoor Unit Price | Line Set Liquid x Suction | Max. Line Length | Additional | Max. Lift |  | Recommended Fuse Size | Maximum | Maximum | Maximum | Maximum
Cooling @ 95°F / | SEER2 | EER2 | HSPF2 | [6 empty] | Charge |  | MCA / MOCP |  | Heating BTU's | Heating BTU's | Cooling BTU's | Cooling BTU's
Heating @ 47°F | [9 empty] | >25ft |  |  |  | at -4⁰F | at 5⁰F | at 110⁰F | at 122⁰F
This Sheet is not intended to replace the Installation Instructions. It is a reference guide only. Always read through the Installation Instructions.
Infinity™ Series High Wall 1:1 Heat Pump Systems
6,000/9,000 | 35.1 | 17.5 | 30 | C45MPHAQ06XA3 | #N/A | C37MPRAQ06AA3 | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 16A / 20A | 20A | 10130 | 13965 | 15085 | 7892
9,000/12,000 | 33.5 | 17 | 22 | C45MPHAQ09XA3 | #N/A | C37MPRAQ09AA3 | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 16A / 20A | 20A | 10130 | 13965 | 15085 | 7892
12,000/12,000 | 29.5 | 14.3 | 14.5 | C45MPHAQ12XA3 | #N/A | C37MPRAQ12AA3 | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 16A / 20A | 20A | 10130 | 13965 | 15085 | 7892
18,000/20,000 | 25.8 | 15 | 16.2 | C45MPHAQ18XA3 | #N/A | C37MPRAQ18AA3 | #N/A | 3/8" x 5/8" | 164.04' | .32 Oz/Ft | 82.02' | 24.9A / 25A | 25A | 20482 | 24809 | 23263 | 13286
Performance™ Series High Wall 1:1 Heat Pump Systems
6,000/7,000 | 25.7 | 18 | 14.8 | C45MAHAQ06XA3 | #N/A | C37MAHAQ06AA3 | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 12A / 15A | 15A | 5125 | 7700 | 10717 | 7571
9,000/12,000 | 27.5 | 15.5 | 12.5 | C45MAHAQ09XA3 | #N/A | C37MAHAQ09AA3 | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 15A / 15A | 15A | 8080 | 11500 | 11215 | 7447
12,000/12,000 | 25.5 | 13.5 | 10.5 | C45MAHAQ12XA3 | #N/A | C37MAHAQ12AA3 | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 15A / 15A | 15A | 9260 | 11500 | 12194 | 6490
18,000/18,000 | 21.5 | 12.5 | 11 | C45MAHAQ18XA3 | #N/A | C37MAHAQ18AA3 | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/Ft | 65.62' | 19A / 20A | 20A | 15050 | 18000 | 14794 | 10590
24,000/29,000 | 21.2 | 13 | 13.5 | C45MAHAQ24XA3 | #N/A | C37MAHAQ24AA3 | #N/A | 3/8" x 5/8" | 164.04' | .32 Oz/Ft | 82.02' | 24.9A / 25A | 25A | 20482 | 24200 | 23263 | 13286
33,000/36,000 | 19.6 | 12 | 10.5 | C45MAHAQ33XA3 | #N/A | C37MAHAQ33AA3 | #N/A | 3/8" x 3/4" | 164.04' | .32 Oz/Ft | 82.02' | 34A / 35A | 35A | 29178 | 35000 | 32895 | 21554
12,000/12,000 | 23.5 | 13 | 9.5 | C45MAHAQ12XA1 | #N/A | C37MARAQ12AA1 | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 18A / 20A | 20A | 4374 | 7700 | 11229 | 6401
Performance™ Series 4-Way Ceiling Cassette 1:1 Heat Pump Systems
9,000/10,000 | 22.7 | 14 | 12.2 | C45MBCAQ12XA3 | #N/A | C37MAHAQ09AA3 | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 15A / 15A | 15A | 7400 | 11000 | 11100 | 6483
12,000/12,000 | 23.7 | 12.7 | 11.6 | C45MBCAQ12XA3 | #N/A | C37MAHAQ12AA3 | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 15A / 15A | 15A | 7500 | 11500 | 11700 | 6558
16,000/19,000 | 20 | 12.5 | 12.4 | C45MBCAQ18XA3 | #N/A | C37MAHAQ18AA3 | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/Ft | 65.62' | 19A / 20A | 20A | 14000 | 17000 | 14000 | 9879
23,500/25,000 | 20.8 | 12 | 11.6 | C45MBCAQ24XA3 | #N/A | C37MAHAQ24AA3 | #N/A | 3/8" x 5/8" | 164.04' | .32 Oz/Ft | 82.02' | 24.9A / 25A | 25A | 17300 | 23800 | 21000 | 13293
Ceiling Cassette Grille for 9K, 12K & 18K BTU |  |  |  |  | C45MBCQ01XXX3 | #N/A | Ceiling Cassette Grille for 24K, 36K & 48K BTU |  |  |  |  | C45MBCQ02XXX4 | #N/A |  |  |  | [Required on all sizes and Sold Separately]
Performance™ Series One-Way Ceiling Cassette 1:1 Heat Pump Systems
6,500 / 7,100 | 22 | 15.2 | 12 | C45MCCAQ06XA3 | #N/A | C37MAHAQ06AA3 | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 12A / 15A | 15A | 6400 | 8100 | 11200 | 6483
9,000 / 10,900 | 24 | 14.7 | 12.2 | C45MCCAQ12XA3 | #N/A | C37MAHAQ09AA3 | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 15A / 15A | 15A | 8600 | 10600 | 11200 | 6483
12,000 / 12,500 | 23 | 13 | 10.2 | C45MCCAQ12XA3 | #N/A | C37MAHAQ12AA3 | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 15A / 15A | 15A | 8600 | 11500 | 11900 | 6558
16,700 / 20,000 | 20.7 | 12.5 | 12.2 | C45MCCAQ18XA3 | #N/A | C37MAHAQ18AA3 | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/Ft | 65.62' | 19A / 20A | 20A | 14500 | 17500 | 14500 | 10289
One-Way Cassette units include grill |  |  |  |  | IDU Capacity select via dip switch and must match ODU size
Performance™ Series Low Static Slim-Ducted 1:1 Heat Pump Systems
6,500/8,000 | 21.5 | 14.5 | 13.8 | C45MBDAQ06XA3 | #N/A | C37MAHAQ06AA3 | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 12A / 15A | 15A | 6302 | 7800 | 10448 | 7387
9,000/10,000 | 21.5 | 13.5 | 12.5 | C45MBDAQ12XA3 | #N/A | C37MAHAQ09AA3 | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 15A / 15A | 15A | 9704 | 11200 | 11147 | 6056
12,000/12,500 | 20 | 12 | 10.2 | C45MBDAQ12XA3 | #N/A | C37MAHAQ12AA3 | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 15A / 15A | 15A | 10256 | 11800 | 11430 | 6220
17,000/19,000 | 18 | 12 | 10.8 | C45MBDAQ18XA3 | #N/A | C37MAHAQ18AA3 | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/Ft | 65.62' | 19A / 20A | 20A | 15917 | 18000 | 14525 | 10543
Performance™ Series High Static Slim-Ducted 1:1 Heat Pump Systems
9,000/9,900 | 20.6 | 14 | 13.8 | C45MBDAQ12XH3 | #N/A | C37MAHAQ09AA3 | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 15A / 15A | 15A | 8448 | 11900 | 11048 | 6060
12,000/12,000 | 20.2 | 12 | 10.6 | C45MBDAQ12XH3 | #N/A | C37MAHAQ12AA3 | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 15A / 15A | 15A | 10171 | 12000 | 11089 | 6537
24,000/26,000 | 19.2 | 12 | 11.7 | C45MBDAQ24XH3 | #N/A | C37MAHAQ24AA3 | #N/A | 3/8" x 5/8" | 164.04' | .32 Oz/Ft | 82.02' | 24.9A / 25A | 25A | 19339 | 24000 | 20858 | 13979
Performance™ Series Floor Console 1:1 Heat Pump Systems
9,000/9,000 | 27.3 | 15.2 | 10.9 | C45MBFAQ09XA3 | #N/A | C37MAHAQ09AA3 | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 15A / 15A | 15A | 8100 | 11300 | 11300 | 6483
12,000/12,000 | 25 | 12.7 | 10.6 | C45MBFAQ12XA3 | #N/A | C37MAHAQ12AA3 | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 15A / 15A | 15A | 8200 | 11300 | 11600 | 6558
16,000/17,000 | 20.2 | 12.5 | 10.2 | C45MBFAQ16XA3 | #N/A | C37MAHAQ18AA3 | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/Ft | 65.62' | 19A / 20A | 20A | 13600 | 17500 | 13000 | 9107
Performance™ Series Under Ceiling Console 1:1 Heat Pump Systems
18,000/18,000 | 22.4 | 12.5 | 10.4 | C45MCFAQ18XA3 | #N/A | C37MAHAQ18AA3 | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/Ft | 65.62' | 19A / 20A | 20A | 14500 | 17000 | 14500 | 10289
Comfort™ Series High Wall 1:1 Heat Pump Systems
9,000/10,000 | 21.5 | 12.5 | 9.1 | C45MHHAQ09XC1 | #N/A | C37MHRAQ09AA1 | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 18A / 20A | 20A |  | 6797 | 8585 | 6128
12,000/12,000 | 21.4 | 10 | 8.7 | C45MHHAQ12XC1 | #N/A | C37MHRAQ12AA1 | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 19A / 20A | 20A |  | 6264 | 9325 | 4917
9,000/10,000 | 21.7 | 12.6 | 9.4 | C45MHHAQ09XC3 | #N/A | C37MHRAQ09AA3 | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 12A / 15A | 15A |  | 6459 | 8759 | 6483
12,000/12,000 | 21.4 | 10.8 | 9.2 | C45MHHAQ12XC3 | #N/A | C37MHRAQ12AA3 | #N/A | 1/4" x 3/8" | 82.02' | .16 Oz/Ft | 49.21' | 13A / 15A | 15A |  | 7752 | 9427 | 4640
18,000/18,800 | 20.3 | 11.5 | 9.1 | C45MHHAQ18XC3 | #N/A | C37MHRAQ18AA3 | #N/A | 1/4" x 1/2" | 98.42' | .16 Oz/Ft | 65.62' | 15A / 20A | 20A |  | 11493 | 14684 | 10539
24,000/24,000 | 18.5 | 9.7 | 9 | C45MHHAQ24XC3 | #N/A | C37MHRAQ24AA3 | #N/A | 3/8" x 5/8" | 164.04' | .32 Oz/Ft | 82.02' | 19A / 20A | 20A |  | 16443 | 19646 | 14260
Accessories & Warranty Information
Use any 3rd party, 24V, 5-wire thermostat to control almost any Ductless system by adding the KSAIC0501230 (indoor/outdoor), KSAIC0601230 (mini indoor) only 24V Interface. Check pg. 8 of the "Compatibility Charts" for updates regarding 24V interface compatibility.
The Carrier Infinity™ Ductless systems are shipped with a Wi-Fi kit standard. See the latest version of the "Compatibility Charts" for full details.
Residential & Multi-Family Applications: 10 year limited warranty to original purchaser on compressor and parts when system is *registered within 90-days of installation. *Registration not required in CA and Quebec .
Commercial Applications: 7 year limited warranty to original purchaser on compressor and parts. See Warranty documents for full details

## DUCTLESS Multi-Zone
| R454B Multi-Zone Quick Reference Guide | [15 empty] | Ductless Systems
Outdoor Unit With | Price | Max Zones | Max Heating Capacity Btu's |  |  | Max Cooling Btu's at 5F |  | Port Combinations |  |  | Max | Max Total | Pre- |  | MCA | MOCP | Recommended Fuse Size
Base Pan Heater | [10 empty] | Line Set | Line Set | Charge | Max Lift
|  |  | @5F [-15C] | @-13F [-25C] | @-22F [-30C] | @ 95°F | @109F [43C] | Liquid | Suction |  | Per Zone | Length | Length
This Sheet is not intended to replace the Installation Instructions. It is a reference guide only. Always read through the Installation Instructions.
Infinity™ Series High Heat Multi-Zone Heat Pump Systems
C37MGHAQ18CA3 | #N/A | 3 | 19000 | 13600 | 11000 | 19000 | 24000 | 3 @ 1/4" | 3 @ 3/8" |  | 98.4' | 196.9' | 73.8' | 49' | 17.5 | 20 | 20
C37MGHAQ24DA3 | #N/A | 4 | 25000 | 17000 | 14000 | 24000 | 32000 | 4 @ 1/4" | 3 @ 3/8" + 1 @ 1/2" |  | 114.8' | 262.5' | 98.4' | 49' | 30 | 35 | 35
C37MGHAQ30EA3 | #N/A | 5 | 36000 | 28000 | 22400 | 30000 | 39000 | 5 @ 1/4" | 3 @ 3/8" + 2 @ 1/2" |  | 114.8' | 262.5' | 123' | 49' | 37 | 40 | 40
C37MGHAQ36EA3 | #N/A | 5 | 36000 | 28000 | 22400 | 36000 | 39000 | 5 @ 1/4" | 3 @ 3/8" + 2 @ 1/2" |  | 114.8' | 262.5' | 123' | 65' | 37 | 40 | 40
C37MGHAQ48FA3 | #N/A | 6 | 47000 | 30000 | 25000 | 47000 | 45000 | 6 @ 1/4" | 4 @ 3/8" + 2 @ 1/2" |  | 114.8' | 262.5' | 147.6' | 65' | 37 | 40 | 40
C37MGHAQ55FA3 | #N/A | 6 | 47000 | 32000 | 26400 | 51000 | 46000 | 6 @ 1/4" | 4 @ 3/8" + 2 @ 1/2" |  | 114.8' | 262.5' | 147.6' | 65' | 39.5 | 40 | 40
Performance™ Series Multi-Zone Heat Pump Systems
C37MGRAQ18CA3 | #N/A | 3 | 13500 | 8200 |  | 18000 | 18800 | 3 @ 1/4" | 3 @ 3/8" |  | 98.4' | 196.9' | 73.8' | 49.21' | 16 | 20 | 20
C37MGRAQ24DA3 | #N/A | 4 | 18000 | 12000 |  | 24000 | 27400 | 4 @ 1/4" | 3 @ 3/8" + 1 @ 1/2" |  | 114.8' | 262.5' | 98.4' | 49.21' | 23 | 25 | 25
C37MGRAQ30EA3 | #N/A | 5 | 26000 | 17500 |  | 30000 | 30600 | 5 @ 1/4" | 3 @ 3/8" + 2 @ 1/2" |  | 114.8' | 262.5' | 123' | 49.21' | 30.5 | 35 | 35
C37MGRAQ36EA3 | #N/A | 5 | 26000 | 17500 |  | 36000 | 30600 | 5 @ 1/4" | 3 @ 3/8" + 2 @ 1/2" |  | 114.8' | 262.5' | 123' | 49.21' | 30.5 | 35 | 35
C37MGRAQ48FA3 | #N/A | 6 | 36000 | 27000 |  | 47000 | 42000 | 6 @ 1/4" | 4 @ 3/8" + 2 @ 1/2" |  | 114.8' | 262.5' | 147.6' | 49.21' | 34 | 40 | 40
C37MGRAQ55FA3 | #N/A | 6 | 39000 | 27800 |  | 60000 | 46000 | 6 @ 1/4" | 4 @ 3/8" + 2 @ 1/2" |  | 114.8' | 262.5' | 147.6' | 49.21' | 36 | 40 | 40
Indoor Unit Types, Models, and Approved Btu/hr Combinations
Btu/hr | HIGH WALL |  |  |  | 4-WAY CEILING CASSETTES |  |  | ONE-WAY CEILING |  | STANDARD STATIC |  | HIGH STATIC |  | FLOOR / CEILING |  | MULTI-POISE AIR HANDLER (AHU)
| INFINITY™ |  | PERFORMANCE™ |  |  |  |  | CASSETTES |  | SLIM DUCTED |  | SLIM DUCTED |  | CONSOLE
6K | C45MPHAQ06XA3 | #N/A | C45MAHAQ06XA3 | #N/A |  |  |  | C45MCCAQ06XA3 | #N/A | C45MBDAQ06XA3 | #N/A
9K | C45MPHAQ09XA3 | #N/A | C45MAHAQ09XA3 | #N/A | C45MBCAQ12XA3 |  | #N/A | C45MCCAQ12XA3 | #N/A | C45MBDAQ12XA3 | #N/A | C45MBDAQ12XH3 | #N/A | C45MBFAQ09XA3 | #N/A
12K | C45MPHAQ12XA3 | #N/A | C45MAHAQ12XA3 | #N/A | C45MBCAQ12XA3 |  | #N/A | C45MCCAQ12XA3 | #N/A | C45MBDAQ12XA3 | #N/A | C45MBDAQ12XH3 | #N/A | C45MBFAQ12XA3 | #N/A
16K | [13 empty] | C45MBFAQ16XA3 | #N/A
18K | C45MPHAQ18XA3 | #N/A | C45MAHAQ18XA3 | #N/A | C45MBCAQ18XA3 |  | #N/A | C45MCCAQ18XA3 | #N/A | C45MBDAQ18XA3 | #N/A | C45MBDAQ18XH3 | #N/A |  |  | C45MBAAQ18XB3 | #N/A
24K |  |  | C45MAHAQ24XA3 | #N/A | C45MBCAQ24XA3 |  | #N/A |  |  |  |  | C45MBDAQ24XH3 | #N/A |  |  | C45MBAAQ24XB3 | #N/A
30K |  |  | C45MAHAQ30XA3 | #N/A | [11 empty] | C45MBAAQ30XB3 | #N/A
33K |  |  | C45MAHAQ33XA3 | #N/A
36K |  |  | C45MAHAQ36XA3 | #N/A | [11 empty] | C45MBAAQ36XB3 | #N/A
Installation Notes:
Port adaptors included with the outdoor units and no branch boxes required.
10' minimum line length require per zone.
Minimum 2 zones must be connected.
Up to 2 AHUs can be used for the following combinations only: 18+18, 18+24, 18+30, 18+36, 24+24, 24+30, 24+36. In the case that 2 AHU units are selected, no other units may be connected to the outdoor unit, regardless of remaining ports or capacity availability.
When a 30k or 36k AHU is utilized with a Multi-Zone ODU, 500 grams (17.6 Oz) of additional refrigerant should be added to the system.
One-Way Cassette sizing is determined by capacity rotary swith on IDU.
Wi-Fi Kits and Wire Remote Controllers compatible with single or multi-zone as per IDU compatibility.
#REF!

## Paste bid here
CARRIER MASTER BID | B069296 | COPY CUSTOMER PRICING FROM THIS BID AND PASTE BID BELOW